# Proposed Rulemaking Report

10 CSR 20-8.200 Wastewater Treatment Lagoons and Wastewater Irrigation Alternatives

Pursuant to Section 536.016, RSMo., an agency shall promulgate rules based upon substantial evidence on record. The following information identifies the necessity for the Missouri Department of Natural Resources to propose this rulemaking.

- What is the purpose of the rulemaking and why is it necessary?

The changes to this rule are administrative in nature. One change corrects the term “geohydrological” to “geohydrologic” [(2)(B)]. A second change adds language to inform applicants who are required to request a geohydrologic evaluation that supplemental information can be submitted to the Department for consideration [(2)(B)]. The revision related to supplemental information is entirely stakeholder driven. A third change adds the phrase “unless additional information supports an alternative determination by the department for the proposed location” to existing language stating that earthen basins shall not be located in areas with a severe collapse potential rating [(2)(B)1.]. This change provides the flexibility to take additional geohydrologic and engineering information into consideration when siting lagoons and may allow for a more accurate evaluation of whether a proposed project would endanger human health, public welfare, or the environment. A fourth change clarifies storage requirement calculations to correct an error in a previous rulemaking (during Red Tape Reduction) [(6)(C)1]. A fifth change revises the applicability statement to include earthen basins and revises wording in several place to include earthen basins. This is being done to ensure that a new definition of the term “lagoon” in 10 CSR 20-2 developed during Red Tape Reduction does not alter the applicability of basin design requirements in this rule [(1) and (4)]. A sixth change revises the applicability statement to specifically exclude lagoons or earthen basins built to contain or control the release of only storm water [(1)(C)]. A seventh change revises a reference to the head of water in the lagoon or earthen basin used in calculating seal thickness to specifically reference the design average operating depth of water. An eighth change alphabetizes the county lists for minimum storage days required for surface irrigation of wastewater to make the list easier to read and corrects the following typographical errors and omissions in the lists: corrects the spelling of one county (Greene), adds two counties that were missing (Wright and Washington), and moves one county that was incorrectly listed in the wrong subparagraph (Cooper) [(6)(C)1].

- What does the rulemaking require and how does it produce benefits?

The rulemaking does not create a requirement for stakeholders, however, the changes provide additional guidance for facilities who are requesting a geohydrologic evaluation, corrects an error from the previous rulemaking with regard to lagoon storage design requirements, ensures a definition change does not have unintended consequences, provides flexibility on locating earthen basins, clarifies that design average operating depth may be used in determining lagoon seal thickness, and clarifies when this regulation does not apply. The benefit to stakeholders for the geohydrologic evaluation change is that it clarifies that the applicant can submit additional geologic information for the Department’s consideration, which is not mentioned in the existing rule and could potentially result in different geohydrologic evaluation determinations. The benefit of the correction to the lagoon design requirement would be receiving construction permit applications that require fewer comments on lagoon sizing calculations, which may speed up the review process. The benefit of the language revision to earthen basins would be to ensure all earthen basins continue to be designed in accordance with this regulation, which may result in an increase in review time for the Department. The benefit to the revision on location of lagoons provides flexibility to take additional geohydrologic and engineering information into consideration when siting lagoons. The benefit of the design average operating depth wording revision is that it provides more clarification on what value to use in the calculation. The benefit to the applicability statement addition is to clarify to stakeholders that this rule does not apply to most storm water basins.

- Who has or will be involved in the development of the rulemaking?

The Water Protection Program, Engineering Section will be involved in the development of the rulemaking, as will wastewater treatment facilities and engineering consultants who request a geohydrologic evaluation or design wastewater treatment lagoons and earthen basins.

- Whom may I contact to either ask questions or provide input on this rulemaking?

Cindy LePage with the Engineering Section at 573-751-6618 or cindy.lepage@dnr.mo.gov

- What is the tentative schedule for this rulemaking (in particular the comment period and public hearing)?

Stakeholder Meeting		January 28, 2022

RIR Public Notice		March 2022

File Proposed Amendment	May 2022

Public Comment Period	June 2022

Public Hearing		June 2022

Order of Rulemaking filed	September 2022

ORM Published 		October 2022

ORM Published in Code	November 2022

Rule Effective			December 2022