# Proposed Rulemaking Report

10 CSR 23-5.050 Construction Standards for Closed-Loop Heat Pump Wells

Pursuant to Section 536.016, RSMo, an agency shall promulgate rules based upon substantial evidence on record. The following information identifies the necessity for the Missouri Department of Natural Resources to propose this rulemaking.

- What is the purpose of the rulemaking and why is it necessary?

The purpose of this rulemaking is to properly incorporate references into the rule (i.e., ASTM Standards), remove unnecessary language, improve rule clarity, remove pre-notification requirements for grouting geothermal wells less than 200 feet in depth that are not grouted full-length, and add tracer wire requirements. The rulemaking is necessary to comply with the administrative requirements for rules under Chapter 536, RSMo, and to incorporate tracer wire requirements per the approval of the Well Installation Board.

- What does the rulemaking require and how does it produce benefits?

The rule requires geothermal well installers to include tracer/locator wire within trenches where supply/return lines are located. This benefits well installation contractors, geothermal system maintenance personnel, and homeowners by providing a reliable mechanism to locate supply/return lines and wells of geothermal systems. To be effective, tracer wire must be installed during system construction. Although other changes of the rule do not require anything new, changes within produce benefits by adding clarity and removing unnecessary burden to the drilling community and the Well Installation Section by removing pre-notification requirements for certain methods of well grouting.

- Who has or will be involved in the development of the rulemaking?

DNR Staff and stakeholders (well drilling industry and well owners)

- Who may I contact to either ask questions or provide input on this rulemaking?

Andrew S. Combs, (573) 368-2165, Andrew.combs@dnr.mo.gov or Michelle Oglesby, (573) 368-2165, michelle.oglesby@dnr.mo.gov

- What is the tentative schedule for this rulemaking (in particular the comment period and public hearing)?

We anticipate completion of draft rule language and rulemaking report October 14, 2022, program review February 1, 2023, Division request to begin rulemaking March 1, 2023, stakeholder meetings complete by May 1, 2023, public notice, comment period, and hearing fall 2023, rule effective spring 2024.