# Title 10—DEPARTMENT OF
NATURAL RESOURCES
Division 80—Solid Waste Management
Chapter 3—Solid Waste Disposal Areas
Sanitary, Demolition, and Special Waste Landfills

10 CSR 80-3.010 Design and Operation

PURPOSE: This rule pertains to the design, construction, operation, and maintenance of permitted sanitary, demolition, and special waste landfills.

PUBLISHER’S NOTE: The secretary of state has determined that the publication of the entire text of the material which is incorporated by reference as a portion of this rule would be unduly cumbersome or expensive. This material as incorporated by reference in this rule shall be maintained by the agency at its headquarters and shall be made available to the public for inspection and copying at no more than the actual cost of reproduction. This note applies only to the reference material. This rule incorporates American Society for Testing and Materials (ASTM) International standards, and the Environmental Protection Agency (EPA) standards by reference and sets forth additional state standards. The entire text of the rule is printed here.

(1) General Provisions.

(A) This rule is intended to provide for sanitary, demolition, and special waste landfills that will have minimal impact on the environment. The rule sets forth requirements and the method of satisfactory compliance to ensure that the design, construction, operation, and maintenance of these landfills will protect human health and meet applicable environmental standards. If techniques other than those listed are used, it is the obligation of the landfill owner/operator to demonstrate to the department in advance that the techniques to be employed will satisfy the requirements. Procedures for the techniques shall be submitted to the department in writing and approved by the department in writing prior to being employed. Notwithstanding any other provision of these rules, when it is found necessary, the department may require a change by permit modification or amendment in design, operation, or maintenance of any active, inactive, or closed landfill to protect human health and the environment.

(B) The applicability of sections within this rule is dependent upon the date of permit issuance, the landfill type (sanitary or demolition), the landfill’s operational status (active, inactive, or closed), and the date each landfill ceased or ceases accepting waste. The applicability of requirements for special waste landfills is described in section (22) of this rule. The applicability for each requirement is described in each section; therefore, the landfill owner/operator shall review each section to determine regulatory applicability. Each active sanitary, demolition, or special waste landfill owner/operator shall submit to the department evidence of compliance with 10 CSR 80-3.010 within ninety (90) days of the effective date of this rule. Extensions to this deadline may be granted by the department on a case by case basis with appropriate demonstration.

(C) Construction and operation of landfills shall be conducted in accordance with the engineering plans and specifications approved by the department.

(D) The standards set forth in ASTM D1140-17, 2017, ASTM D2487-17, 2018, ASTM D4318-17, 2017, ASTM D5084-16a, 2016, ASTM D6391-11 (Reapproved 2020), 2020, ASTM D6913/D6913M-17, 2017, and ASTM D7928-21, 2021, as published by ASTM International, West Conshohocken, PA 19428, are incorporated by reference. The standards set forth in the Methods Innovation Rule (MIR), 2005, and Statistical Analysis of Groundwater Monitoring Data at Resource Conservation Recovery Act (RCRA) Facilities, 2009 as published by the EPA, Washington, D. C. 2004 are incorporated by reference. The regulations set forth in 40 CFR part 261, Subpart C, section 261.24(b), July 1, 2025, 40 CFR part 61, Subpart M, July 1, 2025, 40 CFR part 141, Subpart G, section 141.62 as of June 29, 2004, and 40 CFR part 141, Subpart G, section 141.66 as of December 7, 2000, as published by the Office of the Federal Register, National Archives and Records Administration, Superintendent of Documents, Pittsburgh, PA, 15250-7954, are incorporated by reference. The standards set forth in Geosynthetic Institute (GM 19a) as of March 18, 2021, and Geosynthetic Institute (GM 19b) April 17, 2020, as published by the Geosynthetic Institute, 475 Kedron Avenue, Folson, PA, 19033-1208, are incorporated by reference. This rule does not incorporate any subsequent amendments or additions of these publications.

(2) Solid Wastes Accepted and Excluded.

(A) Accepted Wastes. To determine whether a waste may be accepted for disposal, the sanitary or demolition landfill owner/operator shall consider the landfill design, material, and chemical properties of the landfill liner and environmental control systems, the quantity of the waste, the physical and chemical characteristics of the waste, the equipment and operational procedures to be utilized, the safety of the landfill personnel and the general public using the landfill, and the protection of human health and the environment.

1. The sanitary or demolition landfill’s design and operations plan submitted to the department for approval shall specify the following:

A. The types of waste to be accepted for disposal;

B. The handling and disposal procedures for each general type of waste, including any special wastes; and

C. The procedures for random inspections of waste prior to disposal at the sanitary or demolition landfill, pursuant to paragraph (2)(B)3. of this rule.

2. Bulky and other waste accepted at any landfill that has the potential to puncture the composite liner shall be excluded from the first ten feet (10’) of waste placed above the composite liner.

3. Bulk liquids shall only be accepted at a sanitary landfill for disposal if management procedures to prevent operational problems are described in the approved operations plan and pursuant to the following conditions:

A. The liquid waste is household waste other than septic waste;

B. The liquid waste is leachate or gas condensate, is placed in a landfill cell designed with a composite liner and leachate collection system as described in this rule, and the landfill has departmental approval to recirculate leachate or gas condensate;

C. The liquid waste is solidified prior to disposal unless otherwise approved by the department. This requirement also applies to large containers of liquid(s) or large quantities of small containers of liquid; D. The liquid waste is disposed of in a cell(s) of a sanitary landfill that has been approved for operation as a bioreactor.

4. The following radioactive or hazardous wastes may be accepted at a sanitary landfill under the specific conditions described below. All other radioactive or hazardous wastes shall be excluded from disposal pursuant to subsection (2)(B) of this rule:

A. Radioactive material used in or resulting from medical processes or liquid radioactive material may be accepted if the material has a half-life of less than thirty (30) days;

B. Naturally Occurring Radioactive Material (NORM) may be accepted with prior written approval from the department;

C. Accelerator-produced radioisotopes with a half-life of less than thirty (30) days may be accepted;

D. Smoke detectors, electron tubes, luminous wristwatches and clocks, luminous lock illuminators, luminous automobile shift quadrants, luminous marine compasses, and luminous thermostat dials and pointers in quantities less than ten (10) items from any single source may be accepted; and

E. Household hazardous waste generated daily by individuals in the routine operation of their households.

5. Special wastes may be accepted at a sanitary landfill in accordance with the landfill’s approved design and operations plan, the following procedures, and any additional procedures determined by the department to be necessary to protect human health and the environment.

A. The waste generator shall-

(I) Complete a Special Waste Disposal Request on the form provided by the department or equivalent and maintain the forms in accordance with subparagraph (20)(A)3.G. of this rule;

(II) Provide to the landfill all necessary information to describe the source and physical and chemical characteristics of the special waste, including laboratory test results on representative samples taken prior to accepting the material for disposal; and

(III) Sign the Special Waste Disposal Request prior to submittal to the landfill.

B. The sanitary landfill owner/operator shall—

(I) Sign the Special Waste Disposal Request form upon acceptance of the waste for disposal;

(II) Inspect each load of special waste before disposal at the landfill. The inspection shall be in a manner that ensures excluded and unapproved wastes are not disposed of at the landfill;

(III) To the extent practical, manage any special waste in a manner that minimizes the disruption of normal landfill operations; and

(IV) Ensure that each special waste is segregated from other waste with which it could be chemically incompatible.

C. If the sanitary landfill owner/operator anticipates accepting more than one (1) load of a specific type of special waste from the same source in a short period of time, or the waste will be accepted from the same source on a routine, ongoing basis, only one (1) Special Waste Disposal Request form is required. However, if laboratory test results of the waste initially were required to obtain approval for waste acceptance, the landfill owner/operator shall obtain yearly confirmation with current test results or other current documentation confirming that the contaminant level(s) of concern have not increased or new contaminants of concern have not emerged. Should the test results or the waste generation process change, a new Special Waste Disposal Request form shall be completed and kept on file.

D. Special waste that requires handling procedures significantly different from typical municipal solid waste shall be managed in accordance with the sanitary landfill operations plan and any special procedures established by the landfill operator during the special waste approval process.

E. Waste generated from the cleanup of a former manufactured gas plant (FMGP) site is considered a special waste. Prior to accepting FMGP waste for disposal, the sanitary landfill owner/operator shall have representative samples of the waste tested using the SW-846 test method 1311 toxicity characteristic leaching procedure, Waste Management System: Testing and Monitoring Activities: Final Rule:  (MIR) 2005. The waste shall not be accepted for disposal unless the concentrations of the following contaminants are below the regulatory levels listed in 40 Code of Federal Regulations (C.F.R.) § 261.24(b), Table 1:

(I) All metals listed in Table 1, with the exception of barium;

(II) Cresol, o-cresol, m-cresol, and p-cresol; and

(III) Benzene.

6. For a demolition landfill, the landfill owner/operator shall prominently display a sign at the entrance of the landfill that lists the wastes that are approved for acceptance, in accordance with this rule and the landfill’s approved operations plan.

(B) Excluded Wastes.

1. The following wastes shall be excluded from disposal at a landfill: regulated quantities of hazardous waste, explosives, regulated quantities of polychlorinated biphenyls (PCBs), highly flammable or volatile substances, septic tank pumpings, major appliances as defined in 260.200, RSMo, waste oil, lead-acid batteries, any regulated asbestos-containing material (RACM) that has been improperly transported to the site, such as RACM delivered to the landfill in improper packaging or containers, without proper shipment records, or RACM that has otherwise been transported in violation of the 40 C.F.R. Part 61, Subpart M, National Emission Standards for Hazardous Air Pollutants for Asbestos ([2017]2025), scrap tires pursuant to 10 CSR 80-8.020, yard waste (if the landfill cell is not permitted as a bioreactor), infectious waste pursuant to 10 CSR 80-7.010, and bulk liquids, except as described in paragraph (2)(A)3. of this rule.

2. The following radioactive materials shall be excluded from disposal at landfills:

A. The tailings or wastes produced by the extraction or concentration of uranium or thorium from any ore processed primarily for its source material content as that term is defined in the Atomic Energy Act of 1954, 42 U.S.C. section 2014;

B. Any radioactively contaminated material used in or resulting from the cleanup of radioactively contaminated sites;

C. Any byproduct, source, or special nuclear material regulated by the Atomic Energy Act of 1954;

D. “Low-level radioactive waste” as defined in section 260.700, RSMo 1996 as radioactive waste that is not classified as high-level radioactive waste and that is class A, B, or C low-level radioactive waste as defined in 10 C.F.R. § 61.55, as that section existed on January 26, 1983. “Low-level radioactive waste” or “waste” does not include any such radioactive waste that is owned or generated by the United States Department of Energy, by the United States Navy as a result of the decommissioning of its vessels, or as a result of any research, development, testing, or production of any atomic weapon; and

E. Any greater-than-class-C radioactive waste.

3. Any wastes not specifically listed in a proposed permit or a modification to a sanitary or demolition landfill permit and approved by the department shall be excluded from disposal. The landfill owner/operator shall describe the procedures for screening and removing excluded wastes in the operations plan, including but not limited to:

A. At a minimum, random inspections of incoming waste loads unless the owner/operator takes other steps to ensure that incoming solid wastes do not contain wastes excluded from disposal at the landfill;

B. Records of any load inspections; and

C. Procedures that will be implemented to train appropriate landfill personnel in the identification and proper handling of radioactive materials, regulated hazardous waste, infectious waste, asbestos-containing material, and other waste prohibited from disposal.

4. The landfill owner/operator shall screen and inspect loads of incoming waste pursuant to the approved operations plan and notify the department immediately upon receiving any of the following types of excluded waste at the landfill:

A. Regulated hazardous waste;

B. Radioactive materials;

C. Regulated quantities of PCBs;

D. Explosives;

E. Highly flammable or volatile substances;

F. Any RACM that has been improperly transported to the site, such as RACM delivered to the landfill in improper packaging or containers, without proper shipment records, or RACM that has otherwise been transported in violation of the 40 C.F.R. Part 61, Subpart M, National Emission Standards for Hazardous Air Pollutants for Asbestos (2025); or

G. Infectious waste.

5. For an active sanitary landfill, the landfill owner/operator shall prominently display a sign at the site entrance stating the following about excluded wastes: “Regulated hazardous waste, radioactive materials, regulated quantities of polychlorinated-biphenyls (PCBs), regulated asbestos-containing material (RACM), bulk liquids, highly flammable or volatile substances, septic tank pumpings, major appliances, waste oil, lead-acid batteries, whole scrap tires, yard waste, explosives, and regulated infectious waste are excluded from disposal.”

(3) Site Selection.

(A) Prior to submitting an application for a construction permit for a new sanitary or demolition landfill or a horizontal expansion of a sanitary or demolition landfill, the owner/operator shall perform an evaluation of the proposed site and surrounding area, and a study of the geologic and hydrologic conditions at that site location in accordance with 10 CSR 80 – 2.015. Any application for a landfill construction permit received on or after the effective date of this rule shall document compliance with all applicable siting restriction requirements pursuant to paragraphs (3)(B)1. through 7. of this rule for sanitary landfills and paragraphs (3)(B)2. through 7. of this rule for demolition landfills.

(B) Location Restrictions.

1. Airport safety.

A. The owner/operator of a sanitary landfill that is located within ten thousand feet (10,000') of any airport runway used by turbojet aircraft or within five thousand feet (5,000') of any airport runway used by only piston-type aircraft shall demonstrate to the department that the sanitary landfill is designed and operated so that the landfill does not create or pose a bird hazard to aircraft.

B. The owner/operator proposing to site a new sanitary landfill or horizontal expansion of a sanitary landfill within a five- (5-) mile radius of any airport runway used by turbojet aircraft or piston-type aircraft shall notify the affected airport and the Federal Aviation Administration (FAA).

2. Wetlands.  Landfills shall not be located in wetlands, unless the owner/operator makes the following demonstrations to the department:

A. The presumption that a practicable alternative to the proposed landfill is available which does not involve wetlands is clearly rebutted;

B. The construction and operation of the landfill will not:

(I) Cause or contribute to violations of any applicable state water quality standard;

(II) Violate any applicable toxic effluent standard or prohibition under section 307 of the federal Clean Water Act;

(III) Jeopardize the continued existence of endangered or threatened species or result in the destruction or adverse modification of a critical habitat, protected under the Endangered Species Act of 1973; and

(IV) Violate any requirement under the Marine Protection, Research, and Sanctuaries Act of 1972 for the protection of a marine sanctuary;

C. The landfill will not cause or contribute to significant degradation of wetlands. The owner/operator shall demonstrate the integrity of the landfill and its ability to protect ecological resources by addressing the following factors:

(I) Erosion, stability, and migration potential of native wetland soils, muds and deposits used to support the landfill;

(II) Erosion, stability, and migration potential of dredged and fill materials used to support the landfill;

(III) The volume and chemical nature of the waste disposed of in the landfill;

(IV) Impacts on fish, wildlife, and other aquatic resources and their habitat from potential release of solid waste from the landfill;

(V) The potential effects of contamination of the wetland and the resulting impacts on the environment; and

(VI) Any additional factors, as necessary, to demonstrate that ecological resources in the wetland are sufficiently protected;

D. Steps have been taken to attempt to achieve no net loss of wetlands (as defined by acreage and function) by first avoiding impacts to wetlands to the maximum extent practicable pursuant to subparagraph (3)(B)2.A. of this rule, then minimizing unavoidable impacts to the maximum extent practicable, and finally offsetting remaining unavoidable wetland impacts through all appropriate and practicable compensatory mitigation actions (for example, restoration of existing degraded wetlands or creation of man-made wetlands); and

E. The requirements of paragraph (3)(B)2. of this rule may be satisfied by the owner/operator obtaining a United States Army Corps of Engineers permit for construction in a wetland or by demonstrating that the wetland is not regulated by the United States Army Corps of Engineers, or other appropriate agency.

3. Floodplains. The owner/operator of a landfill located within the one hundred- (100-) year floodplain shall demonstrate to the department that the landfill will not restrict the flow of the one hundred- (100-) year flood, reduce the temporary water storage capacity of the floodplain, or result in washout of solid waste so as to pose a hazard to human health or the environment.

4. Seismic Impact Zones. Landfills shall not be located in seismic impact zones, unless the owner/operator demonstrates to the department that all containment structures, including liners, final covers, leachate collection systems, and surface water control systems, are designed to resist permanent cumulative earthquake displacements not to be greater than six inches (6"), resulting from the maximum credible Holocene time earthquake event’s acceleration versus time history.

5. Fault Areas. Landfills located in the seismic impact zone shall not be located within two hundred feet (200') of a fault that has had displacement in Holocene time unless that owner/operator demonstrates to the department that an alternative setback distance of less than two hundred feet (200') will prevent damage to the structural integrity of the landfill and will be protective of human health and the environment.

6. Unstable Areas. Landfills located in an unstable area shall demonstrate to the department that the landfill’s design ensures that the integrity of the structural components of the landfill will not be disrupted. The owner/operator shall consider the following factors, at a minimum, when determining whether an area is unstable:

A. On-site or local rock or soil conditions that may result in failure or significant differential settling;

B. On-site or local geologic or geomorphologic features; and

C. On-site or local human-made features or events (both surface and subsurface).

7. Placement Above the Uppermost Aquifer. Landfills permitted after the effective date of this rule, including horizontal expansions, must be constructed with a base (e.g., the subgrade prior to placing the compacted clay liner) that is located at least one foot (1') above the upper limit of the uppermost aquifer, or must demonstrate that there will not be an intermittent, recurring, or sustained hydraulic connection between any portion of the base of the landfill and the uppermost aquifer due to normal fluctuations in groundwater elevations, including the seasonal high water table.

(4) Landfill Construction Permit and Operating Permit Applications and Permit Modifications.

(A) The application form, plans, addenda, as-built documentation, or other documents that describe the design, construction, operation, closure, or post-closure care of any new sanitary or demolition landfill or horizontal expansion shall be prepared, sealed, and signed by a licensed professional engineer and submitted to the department for review and approval. The permit application request shall be submitted pursuant to 10 CSR 80-2.020(2).

(B) The landfill Construction Permit Application (CPA) shall include:

1. A completed and signed application for Construction of a Solid Waste Disposal Area or Processing Facility form;

2. A map showing initial and proposed topographies at contour intervals of five feet (5') or less utilizing a scale of not less than one inch (1") equal to one hundred feet (100'). If the entire site cannot be illustrated on one (1) standard plan sheet, an additional map with appropriate horizontal and vertical scales that allows the site to be shown on one (1) standard plan sheet is required;

3. A map having a scale of not less than one inch (1") equal to four hundred feet (400') identifying the land use and zoning within one-fourth (¼) mile of the proposed permitted boundary, including location of all known residences, buildings, wells, water courses, springs, lakes, rock outcroppings, caves, sinkholes, mineral rights, and soil or rock borings. All known electric, gas, water, sewer, and other utility easements or lines that are located on, under or over the proposed permitted boundary shall be shown on the map;

4. Provisions for a minimum one-hundred-foot (100’) buffer zone between the outermost limits of waste and any property line(s) or any right(s)-of-way of adjoining road(s) when the property line(s) is inside the right(s)-of-way to provide room for assessment and/or corrective actions. The purpose of the buffer is to provide an area to allow monitoring, investigation and remediation. Any structures placed within the buffer area require prior approval from the department;

5. Proposed cross-section drawings, including groundwater elevations in relation to liner and final landfill height;

6. Typical phase development drawings:

A. A conceptual sequence of operations and closure of the landfill; and

B. Cell development, leachate, stormwater, gas monitoring, gas collection and control infrastructure, and phased closure;

7. All computer modeling used in the landfill design, along with a list and summary narrative of the limitations and assumptions of each model and all supporting data;

8. Precipitation, evapotranspiration, and climatological conditions shall be considered in site selection and design;

9. Procedures for testing, site evaluation and preparation, and construction of the landfill;

10. A demonstration of how adverse geologic and hydrologic conditions may be altered or compensated for via surface water drainage diversion, underdrains, sumps, and other structural components, including detailing all necessary site alterations in the plans;

11. Stability analyses shall be performed for all stages of landfill construction, all liner and leachate system components, and on all final cover system components, as well as an evaluation of the effect of waste settlement on the final cover system components, side slope liner system components, and surface water management system components. Results shall be submitted from all analyses and evaluations.

12. Settlement and bearing capacity analysis shall be performed on the in-place foundation material beneath the disposal area, and the results and supporting data submitted in the design plan.

13. An evaluation of the characteristics and quantity of available soil on- and off-site with respect to its suitability for landfill construction and operation, and a discussion of the engineering properties and quantity estimates of the soil on-site, which include:

A. Texture. Sieve and hydrometer analyses shall be performed to determine grain size distribution of representative soil samples in accordance with ASTM D6913/D6913M-17 ASTM International 100 Barr Harbor, West Conshohocken, PA 19428, Publication date 2017 and ASTM D7928-21 ASTM International 100 Barr Harbor, West Conshohocken, PA 19428, Publication date 2021;

B. Plasticity. The liquid limit, plastic limit, and plasticity index of representative soil samples shall be determined in accordance with ASTM D4318-17 ASTM International, 100 Barr Harbor, West Conshohocken, PA 19428, Publication date 2017;

C. Hydraulic conductivity. Perform laboratory hydraulic conductivity tests upon undisturbed representative soil samples using a flexible wall permeameter in accordance with ASTM D-5084-16a ASTM International, 100 Barr Harbor, West Conshohocken, PA 19428, Publication date 2016.

D. If an aquifer is found to be laterally continuous across the anticipated area of the proposed landfill, the hydraulic conductivity of each significant continuous geologic unit shall be determined. Examples of accepted field tests are slug or pump tests that isolate the geologic unit of interest; and

E. Area extent and depth. Determine the areal extent and depth of soil suitable for landfill construction, clearly describing any variations in soil depth.

14. Test Pad.

A. A test pad plan that describes the construction and quality assurance/quality control (QA/QC) procedures that will be used to construct the test pad and achieve satisfactory test pad performance results shall be submitted to the department for approval prior to test pad construction. At a minimum, the plan shall include the QA/QC procedures, construction methods to be implemented during liner construction, testing, and equipment proposed for use during construction.

B. A test pad shall be constructed on-site and tested to verify that the proposed soils, construction equipment, and construction and quality control (QC) procedures are adequate to ensure that the soil component of the composite liner system will meet the requirements pursuant to subparagraphs (4)(A)15.A and B of this rule. The following testing shall be performed on the test pad:

(I) At least two (2) laboratory hydraulic conductivity tests performed on undisturbed samples of the completed test pad;

(II) At least one (1) in-situ hydraulic test that consists of at least five (5) individual test locations performed on the completed test pad in accordance with ASTM D6391-11 (Reapproved 2020) ASTM International, 100 Barr Harbor West Conshohocken, PA 19428, Publication date 2011;

(III) At least two (2) test pits excavated into the completed test pad to observe inter-lift bonding.

C. If test pad construction and testing shows that the proposed methods are not sufficient to meet the requirements of this rule, a new test pad shall be constructed using revised procedures approved by the department.

D. For phased construction, only one (1) test pad will be required for a particular soil source, soil type, and equipment type.

E. A test pad report shall be submitted to the department that describes in detail procedures used to construct the test pad, observations and results of testing, and recommendations based on the test pad for future liner construction.

(I) The landfill owner/operator shall not begin construction of the soil component of the composite liner system in the disposal area until the test pad report is approved by the department;

(II) The test pad report shall serve as guidance for construction of the soil component of the composite liner system.

F. The requirement for a test pad may be waived provided the applicant can demonstrate to the department’s satisfaction that the construction and QA/QC procedures are equivalent to those described in the approved engineering report and will result in construction of a liner that meets the requirements of this rule;

G. The requirement for a test pad may be waived provided the applicant can demonstrate to the department’s satisfaction that the construction and QC procedures are identical to those described in the approved engineering report and will result in construction of a liner which meets the requirements of this rule, and the soils proposed for liner construction meet the following minimum specifications:

(I) Have a plasticity index greater than fifteen (15) and less than thirty (30) (ASTM test D4318-17 ASTM International, 100 Barr Harbor, West Conshohocken, PA 19428, Publication date 2017);

(II) Allow more than fifty percent (50%) passage through a number two hundred (200) sieve (ASTM D1140-17 ASTM International, 100 Barr Harbor, West Conshohocken, PA 19428, Publication date 2017); and

(III) Allow less than ten percent (10%) by weight particle sizes greater than two millimeters (2 mm).

15. Specifications for a composite liner as follows:

A. A composite liner must consist of two (2) components:

(I) The upper component, which consists of, at a minimum, a thirty millimeters (30 mm) geomembrane liner. The geomembrane consisting of high-density polyethylene (HDPE) shall be at least sixty millimeters (60 mm) thick;

(II) The lower component, which consists of at least a two-foot (2') layer of compacted soil with a hydraulic conductivity of no more than 1 x 10-7 centimeters per second (cm/sec).

B. The geomembrane or upper liner component must be installed in direct and uniform contact with the compacted soil or lower liner component. The compacted soil liner component at a minimum shall be:

(I) Constructed of six to eight inch (6-8") loose lifts of unfrozen soil;

(II) Compacted to ranges of density and moisture such that the liner has a hydraulic conductivity no more than 1 x 10-7 cm/sec;

(III) Protected from the adverse effects of desiccation or freeze/thaw cycles after construction, but prior to placement of waste;

(IV) Composed of soils that meet the following minimum specifications:

(a) Be classified under the Unified Soil Classification Systems (USCS) as CL, CH, or SC (ASTM Test D2487-17 ASTM International, 100 Barr Harbor, West Conshohocken, PA 19428, Publication date 2018);

(b) Allow more than thirty percent (30%) passage through a number two hundred (200) sieve (ASTM D1140-17 ASTM International, 100 Barr Harbor, West Conshohocken, PA 19428, Publication date 2017);

(c) Have a liquid limit equal to or greater than twenty (20) (ASTM Test D4318-17 ASTM International, 100 Barr Harbor, West Conshohocken, PA 19428, Publication date 2017); and

(d) Have a plasticity index equal to or greater than ten (10) (ASTM Test D4318-17 ASTM International, 100 Barr Harbor, West Conshohocken, PA 19428, Publication date 2017).

(V) Installed so that the minimum bottom slope in any direction of flow is at least one percent (1%);

16. An alternative composite liner proposal, if desired, which will be considered for approval on a site-by-site basis;

17. A proposed design plan for a leachate collection and removal system will be constructed, operated, and maintained to collect and remove leachate as long as leachate is being generated.

A. The plan shall ensure that leachate management includes an estimate of leachate flow quantities, and a description of the proposed method(s) for leachate management, including provisions for leachate storage.

B. The leachate collection and removal system shall be—

(I) Designed and operated to maintain less than a thirty (30) centimeter or one foot (1') depth of leachate over the liner system;

(II) Constructed of materials that are chemically resistant to the waste managed in the landfill and the leachate expected to be generated, and of sufficient strength and thickness to prevent collapse under the pressures exerted by overlying waste, waste cover materials, and equipment used at the landfill;

(III) Constructed with leachate collection media made of a material and placed in a manner that will not damage the liner; and 
(IV) Designed and operated to minimize clogging during the landfill operations and post-closure care period.

C. The minimum design criteria for the leachate collection systems shall include the following:

(I) Piping, ponds, and/or tanks of sufficient capacity to store, equalize flow to disposal systems, and allow system/operating flexibility;
(II) Collection systems designed and operated so that any leachate formed will flow by gravity into collection areas from which the leachate can be removed, treated if necessary, and properly managed or disposed;
(III) Provisions for leachate management by application on the working face or by recirculation within the permitted fill area to be conducted in accordance with an approved engineering method and designed, constructed, and operated to minimize offsite impacts; and

(IV) Prevention of discharge during a twenty-four- (24-)hour, twenty-five- (25-)year storm event, with supporting calculations provided with the design. At a minimum, sites using leachate pond(s) shall maintain an operational freeboard of no less than two feet (2’) during normal operation.

D. Design plans shall include the following:

(I) A description of leachate management activities by the landfill owner/operator under normal operating conditions.

(II) A description of actions the landfill owner/operator shall take when the emergency level of less than two feet (2') of freeboard occurs in any pond, including at a minimum;

(a) How leachate will be removed from the pond and transported to a treatment or disposal facility;

(b) A description of any testing requirements necessary prior to disposal, and

(c) A schedule by which time the leachate levels will be returned to the normal operating range, with at least two feet (2') of freeboard.

(III) A contingency plan for leachate management in the event the on-site system becomes inoperable and leachate must be taken off-site for proper disposal;

18. Description and results of analyses of the leachate collection pipe material and drainage media to demonstrate that these components possess structural strength to support maximum loads imposed by overlying waste materials and equipment;

19. Sump and side slope sump riser designs. Piping shall be, at a minimum, Standard Dimension Ratio 17 piping and not less than eighteen inches (18") in diameter;

20. A gas monitoring plan pursuant to section (12) of this rule;

21. A gas collection and control system design pursuant to section (13) of this rule;

22. A groundwater monitoring program pursuant to section (9) of this rule;

23. Design for on-site drainage, collection and control structures and channels for all stages of development to accommodate, at a minimum, the stormwater volume from a twenty-four- (24-) hour, twenty-five- (25-) year storm. All of the engineering calculations and assumptions shall be included and explained;

24. A description of the design of structures to be located within the permit boundary, including provisions for protection against potential hazards of solid waste decomposition gases. Major structures are not allowed over waste;

25. An operations plan describing the various tasks performed during a typical shift, including routine tasks (e.g., housekeeping schedule, cover, monitoring, and inspections) performed throughout the operating life of the landfill. The plan shall be made available to employees for reference and to the department upon request; and

26. A closure/post-closure plan pursuant to this rule and 10 CSR 80-2.030(4)(A), with specifications and provisions for the projected use of the closed landfill and maintenance for all landfill infrastructure, final cover, and structures.

(C) Landfill operating permit requests shall be submitted pursuant to 10 CSR 80-2.020(2)(B)2. Any design changes that occur during construction shall be presented to the department in the operating permit application and all conditions of the construction permit shall be met prior to issuance unless otherwise approved by the department. The applicant shall notify the department of any modifications during construction.

(D) Permit modification requests shall be submitted pursuant to 10 CSR 80-2.020(4).

(5) Construction Quality Assurance (CQA).

(A) The construction, corrective action, and closure of a sanitary or demolition landfill shall include QA/QC procedures to ensure compliance with approved plans and all applicable federal, state, and local requirements. The landfill owner/operator shall be responsible for ensuring that a qualified professional conducts the QA/QC supervision.

(B) The CQA plan shall include:

1. A detailed description of the QA/QC testing procedures that will be used for every major phase of construction. This description must include, at a minimum, the frequency of inspections, field testing, laboratory testing, equipment to be utilized, the limits for test failure, a description of the procedures to be used upon test failure, and a detailed procedure for the reporting and recording of QA/QC activities and testing results.

2. Leachate collection system. Reports and QA/QC procedures shall be prepared or approved by a licensed professional engineer submitting the results of the QA/QC procedures and state that the leachate collection system was constructed according to the approved design or a description of any deviations from the approved design; and

3. Liner. The liner described in section (4) of this rule shall be constructed in accordance with the approved design specifications. The QA/QC procedures shall include:

A. Evidence that the liner material(s) utilized meets the minimum design specifications;

B. Evidence that field construction techniques meet the minimum design specifications (e.g., soil density test);

C. Evidence that the liner construction is proceeding as designed through routine verification observations using a predetermined system of horizontal and vertical survey controls; and

D. Oversight of the liner construction and QA/QC procedures by a qualified professional, including submission of reports to transmit the results of the QA/QC procedures. Additionally, the report shall state that the liner was constructed according to design and describe any deviations from the approved design.

(C) QA/QC testing shall include:

1. Testing of each lift of the soil component of the final cover and landfill liner for field density and field moisture once per every ten thousand (10,000) square feet and providing relatively uniform coverage over the landfill surface. Include all tests passing, failing and retest in the CQA report;

2. Laboratory testing for Atterberg Limits and hydraulic conductivity of the soil used for final cover and landfill liner construction once for every five thousand (5,000) cubic yards excavated (ASTM D4318-17 ASTM International, 100 Barr Harbor, West Conshohocken, PA 19428, Publication date 2017);

3. Routine visual classification of borrow soil during landfill construction with oversight by an approving licensed professional engineer;

4. Measurement of the elevations of the final cover and the landfill liner on a maximum spacing of one hundred-foot (100') centers and at one hundred-foot (100') intervals along each line where a break in slope occurs;

A. Landfill liner. Measuring the elevations of the top and bottom of both the landfill liner and leachate collection systems;

B. Final cover. Measuring the elevations of the top and bottom of the landfill cover:

(I) The compacted clay layer; and

(II) The soil layer supporting vegetative growth.

5. For a geomembrane:

A. Nondestructive testing of all seams of the geomembrane in the composite liner and final cover; and

B. Random destructive testing of the seams with results consistent with Geosynthetic Institute (GM 19a-2020, or GM 19b-2021), at a frequency of at least one (1) every five hundred (500) linear feet of seam.

6. All testing shall be performed with oversight by the approving licensed professional engineer or a qualified professional for every major phase of construction.

(D) All CQA reports shall be signed and sealed, and submitted by a licensed professional engineer.

(6) Survey Control.

(A) Benchmarks, horizontal controls, and boundary markers at a sanitary or demolition landfill shall be established by a land surveyor registered in the state of Missouri to check and mark the location and elevations of the landfill, ensuring compliance with design plans, phasing plans, and applicable permit.

(B) At a minimum, a survey of the entire permitted acreage shall be conducted in accordance with the current Missouri Standards for Property Boundary Surveys 2 CSR 90-60 and include the establishment of a permanent monument used as a benchmark.

(C) All site survey information shall be reported in the State Plane Coordinate System and the North American Vertical Datum of 1988 or include a conversion table. If a local datum is used, the reported information shall also include the geoid used and a conversion table showing the conversion of vertical and horizontal permanent monuments from the site coordinate system to the State Plane Coordinate System and the North American Vertical Datum of 1988.

(7) Water Quality.

(A) The owner/operator of a sanitary or demolition landfill or any horizontal expansion shall design, construct, operate, and maintain:

1. On-site drainage, collection and control structures, and channels for all stages of development to accommodate, at a minimum, the stormwater volume from a twenty-four (24-) hour, twenty-five (25-) year storm.

2. Surface water run-off diversion and control structures to minimize infiltration, erosion, ponding, run-on at the working face, and off-site transport of water and sediment (e.g., through ditches, berms, grading, etc.).

(B) All permits and approvals necessary to comply with requirements of the Missouri Clean Water Law and regulations (MCWL&r) shall be obtained from the department prior to landfill construction and maintained during the operational life of the landfill.

(C) The quantity of water coming in contact with waste shall be minimized by the daily operational practices.

(D) Water that comes in temporary contact with the waste shall be managed in accordance with the approved stormwater management procedures.

(E) Water that passes through or emerges from waste and contains dissolved, suspended, or miscible materials removed from such waste shall be managed as leachate.

(8) Leachate Management.

(A) The owner/operator of a sanitary or demolition landfill, or horizontal expansion of such landfill, shall control leachate on-site, collect it in a manner to protect the integrity of any containment system required by the department, and not allow leachate to:

1. Enter the stormwater infrastructure, including ponds, where it will mix with stormwater;

2. Overtop its containment basin or threaten the structural integrity of the basin;

3. Discharge beyond the permit boundary;

4. Discharge into waters of the state, except as allowed in the approved plans and through a permit under the MCWL&r; and

5. Blow or drift off the lined areas of the facility due to leachate application to the working face, spray dispersal, or mist evaporative methods employed for leachate management.

(B) Leachate dispersion on the working face for purposes of waste compaction and densification is allowed in accordance with the operations plan approved by the department.

(C) Leachate disposal shall be in accordance with the requirements of the MCWL&r.

(D) Leachate generation rates must be tracked and reported to the department in the format and manner prescribed by the department.

(E) Leachate levels in each sump within the waste disposal area must be monitored and recorded at least daily and reported to the department in the format and manner prescribed by the department.

(9) Groundwater Monitoring.

(A) Any landfill that has an approved groundwater monitoring program prior to the effective date of this rule shall continue to comply with the approved program. Any landfills for which the department determines there is a need for a groundwater monitoring program or revision, and all new landfills shall conduct groundwater monitoring in accordance with the following:

1. Implement a groundwater monitoring program capable of determining the landfill’s impact on the quality of groundwater underlying the landfill.

2. The owner/operator of a landfill shall establish the potential for migration of fluid generated by the landfill into the groundwater by an evaluation of:

A. A water balance of precipitation, evapotranspiration, run-off, and infiltration;

B. At a minimum, the following characteristics:

(I) Geologic materials;

(II) Description of soil and bedrock to a depth adequate to allow evaluation of water quality protection provided by the soil and bedrock;

(III) Groundwater elevation;

(IV) Proposed separation between the lowest point of the lowest cell and the maximum water table elevation;

(V) Proximity of the landfill to water supply wells or surface water;

(VI) Rate and direction of groundwater flow; and

(VII) Current and projected use of water resources in the potential zone of influence of the landfill.

3. Groundwater monitoring wells shall be installed so that the number, spacing, and depths of the wells shall be determined based upon site-specific technical information that shall include a thorough characterization of—

A. Aquifer thickness, groundwater flow rate, groundwater flow direction including seasonal and temporal fluctuations in groundwater flow; and

B. Saturated and unsaturated geologic units and fill materials overlying the uppermost aquifer, materials comprising the uppermost aquifer, and materials comprising the confining unit defining the lower boundary of the uppermost aquifer, including, but not limited to, thicknesses, stratigraphy, lithology, hydraulic conductivities, and porosities. If the lower confining unit is one hundred feet (100') or more below the top of the uppermost aquifer, borings verifying the lower confining layer will not be required. The upper fifty feet (50') of uppermost aquifer will be characterized.

4. Groundwater monitoring wells shall be capable of yielding groundwater samples for analysis, effectively monitoring the site, and consisting of at least one (1) well installed hydraulically up gradient; that is, in the direction of increasing static head from the landfill and at least three (3) wells installed hydraulically downgradient; that is, in the direction of decreasing hydraulic head from the landfill. The numbers, locations, and depths shall be sufficient to yield groundwater samples that are:

A. Representative of background water quality in the groundwater near the landfill;

B. Capable of detecting any significant amounts of fluids generated by the landfill that migrate from the landfill to the groundwater; and

C. Monitoring wells, or clusters of monitoring wells, shall be capable at a minimum, of monitoring all saturated zones down to and including the uppermost aquifer. The maximum distance any new or replacement monitoring wells may be located from the outermost limits of wastes one hundred fifty meters (150 m), or four hundred ninety-two feet (492'). Wells installed for corrective action may be placed in an approved location at distances greater than one hundred fifty meters (150 m), as needed.

5. The design and installation of groundwater monitoring well systems shall be observed, supervised, and certified by a qualified groundwater scientist and approved by the department.

(B) Sampling and Reporting.

1. Each landfill’s groundwater monitoring program must include consistent sampling and analysis procedures that are designed to ensure monitoring results provide an accurate representation of groundwater quality at monitoring wells installed in compliance with this section. The owner/operator shall submit the sampling and analysis program to the department for approval. The program shall include procedures and techniques for—

A. Monitoring well maintenance;

B. Monitoring well redevelopment;

C. Monitoring well depth measurement and hydraulic levels;

D. Monitoring well purging and sampling utilizing dedicated equipment;

E. Equipment calibration;

F. Decontamination and field blanks;

G. Sample and duplicate sample collection;

H. Sample preservation;

I. Sample labeling;

J. Sample handling;

K. Field measurements;

L. Field documentation;

M. Chain of custody control;

N. Sample shipment;

O. Analytical procedures;

P. QA/QC control—field and laboratory; and

Q. Statistical testing strategy for each parameter’s concentrations.

2. Each groundwater monitoring program shall include sampling and analytical methods that are appropriate for groundwater sampling and that accurately measure monitoring constituents in groundwater samples. Analysis shall be performed on unfiltered samples.

3. The owner/operator shall determine the rate and direction of groundwater flow each time groundwater is sampled. Groundwater elevations in wells that monitor the same solid waste disposal area shall be measured within a period of time short enough to avoid temporal variations in groundwater flow that could preclude accurate determination of groundwater flow direction.

(C) Baseline/Background Monitoring.

1. The owner/operator of a new sanitary or demolition landfill shall establish background groundwater quality for each of the monitoring constituents required in Appendix I.

2. To establish background, a minimum of eight (8) quarterly samples of statistically independent sample data shall be obtained and analyzed from all monitoring wells. Additional background samples may be required based upon the statistical methodology used.

3. Landfills may begin accepting waste upon completion of a minimum of four (4) independent baseline/background sampling events of constituents in Appendix I or Appendix III.

(D) Detection Monitoring.

1. The owner/operator of a sanitary or demolition landfill shall obtain and analyze water samples from the groundwater monitoring wells during the months of March through May and September through November of each calendar year unless an alternative schedule is approved by the department. Sampling events must be six (6) months apart unless an alternative schedule is approved by the department.

2. Constituents listed in Appendix I or Appendix III shall be analyzed each time a sample is obtained.

3. The water level in each well shall be measured at the sanitary or demolition landfill at the time the sample is taken.

4. The sample results, and any results of statistical analysis determining statistically significant increases (SSI) for any constituent shall be submitted to the department in one (1) report within ninety (90) days of when samples are collected. All groundwater data shall be submitted electronically, in the format and method as prescribed by the department.

5. In the case of all detection monitoring requirements previously listed, the department may specify an appropriate alternative frequency for repeated sampling and analysis during the operation of the landfill, including the closure and post-closure periods. The department may add additional constituents or delete constituents on a site-by-site basis through an evaluation of waste and leachate characteristics of the landfill.

(E) Statistical Method. The owner/operator of a sanitary or demolition landfill shall specify the statistical methods to be used in evaluating groundwater monitoring data for each monitoring constituent. These methods shall be in accordance with the EPA Unified Guidance, Statistical Analysis of Groundwater Monitoring Data at RCRA Facilities-March 2009.

(F) Response to Detection Monitoring Statistical Analysis.

1. If the statistical analysis shows an SSI (or pH change) over background, and attributes it to the landfill, the owner/operator of the sanitary or demolition landfill shall submit this information to the department and conduct confirmation sampling during the next semiannual monitoring event.

2. If the results of the statistical analysis reveal an SSI (or pH change) over background, the owner/operator must demonstrate to the department within ninety (90) days of the confirmation event that a source other than the landfill caused the contamination or that the SSI resulted from an error in sampling, analysis, statistical evaluation, or natural variation. If the statistical methodology used by the owner/operator requires a confirmation sample or second confirmation sample, then the next required sampling event can be used as the confirmation sampling event.

(G) Assessment Monitoring.

1. If the owner/operator cannot make this demonstration pursuant to (9)(F)2. of this rule to the department, the owner/operator shall submit a groundwater assessment monitoring plan and implement the plan upon approval by the department. The assessment monitoring plan shall specify the following:

A. The number, location, and depth of wells;

B. Sampling and analytical methods for the monitoring constituents listed in Appendix II or Appendix IV as applicable;

C. Evaluation procedures, including any use of previously gathered groundwater quality information;

D. The rate and extent of migration of a contaminant plume in the groundwater; and

E. The concentrations of the contaminant plume in the groundwater.

2. After obtaining the results from the initial or subsequent sampling events, the owner/operator shall:

A. Within fourteen (14) days, inform the department which constituents have been detected;

B. Within ninety (90) days, and on a semi-annual basis after that, resample all wells and conduct analysis for all constituents listed in Appendix I and Appendix II, or Appendix III and Appendix IV that were detected during the initial or subsequent sampling events of assessment monitoring. Samples shall be analyzed for the complete list of Appendix II or Appendix IV constituents at least once every five (5) years for all wells in assessment monitoring. A minimum of one (1) sample from each well sampled shall be collected and analyzed during these sampling events;

C. Establish background concentrations for any new constituents detected during subsequent monitoring events;

D. Establish groundwater protection standards for all new constituents detected during subsequent monitoring events. For the purposes of this subparagraph, the site-specific groundwater protection standards shall be the maximum contaminant level (MCL) established under the National Primary Drinking Water Regulations sections 141.62 (June 29, 2004) and sections 141.66 (December 7, 2000), provided that if no MCL has been established or the site-specific background value is higher than the MCL, then the groundwater protection standards shall be the site-specific background value;

E. If the concentrations of all constituents listed in Appendix II or Appendix IV are shown to be at or below background levels as established in this rule for two (2) consecutive sampling periods, the owner/operator may reinstate detection monitoring;

F. If the concentrations of any constituents listed in Appendix II or Appendix IV are above background values, but all concentrations are below the groundwater protection standard established under this rule using the statistical procedures approved by the department for the landfill, the owner/operator shall notify the department and the department may require the owner/operator to—

(I) Continue assessment monitoring; or

(II) Develop a corrective action plan, or both;

G. If one (1) or more constituents listed in Appendix I, Appendix II, Appendix III, or Appendix IV are detected at levels above the groundwater protection standard, the owner/operator shall:

(I) Provide the department with a report assessing potential corrective actions as outlined in section (10);

(II) Characterize the nature and extent of the release by installing additional monitoring wells as necessary to determine the rate and extent of groundwater contamination, and notify all persons who own the land or reside on the land that directly overlies any part of the plume of contamination if contaminants have migrated off site as indicated by sampling of wells; and

(III) Continue assessment monitoring pursuant to the groundwater quality assessment plan and implement the approved corrective action program specified in this rule.

H. The results of implementation of the assessment monitoring program shall be submitted to the department at the end of each year or an alternate time period approved by the department.

(10) Corrective Action.

(A) The owner/operator of a landfill that shows one (1) or more constituents listed in Appendix I, Appendix II, Appendix III, or Appendix IV, as applicable, being detected at levels above the groundwater protection standard pursuant to (9)(G)2.D. of this rule, and determined to be a result of a release of leachate or landfill gas from the facility, shall in consultation with the department either proceed with corrective actions or submit a corrective action plan pursuant to this section.

(B) Assessment of Corrective Action(s).

1. Within ninety (90) days of finding that any of the constituents listed in Appendix II or Appendix IV have been detected at a statistically significant level exceeding the groundwater protection standards pursuant to (9)(G)2.D. of this rule, the owner/operator shall initiate an investigation and assessment of potential corrective actions. This assessment shall be completed within a reasonable period of time, and a report describing the assessment of corrective actions shall be submitted to the department.

2. The owner/operator shall continue to monitor in accordance with section (9)(G) of this rule.

3. The assessment shall include an analysis of the effectiveness of potential corrective actions in meeting all of the requirements and objectives of the remedy pursuant to this rule, addressing at least the following:

A. The performance, reliability, ease of implementation, and potential impacts of appropriate potential corrective action(s), including safety impacts, cross-media impacts, and control of exposure to any residual contamination;

B. The time required to begin and complete the action(s);

C. The costs of implementation; and

D. The institutional requirements such as state or local permit requirements or other environmental or human health requirements that may substantially affect implementation of the corrective action(s).

4. The owner/operator shall discuss the results of the corrective action(s) assessment, prior to the selection of a remedy, in a public meeting with interested and affected parties.

(C) Selection of Corrective Action(s).

1. Based on the results of the potential corrective action(s) assessment, the owner/operator shall propose a corrective action(s) plan. The owner/operator shall submit to the department, within fourteen (14) days of selecting a proposed corrective action(s) plan, a report describing the proposed corrective action(s) and how the proposed plan meets the standards of this rule.

2. Corrective action(s) shall:

A. Be protective of human health and the environment;

B. Attain the groundwater protection standard; and

C. Control the source(s) of releases so as to reduce or eliminate, to the maximum extent practicable, further releases of constituents listed in Appendix I, Appendix II, Appendix III, or Appendix IV into the environment that may pose a threat to human health or the environment.

3. In proposing a corrective action, the owner/operator shall include the following evaluation factors:

A. The long- and short-term effectiveness and protectiveness of the potential action(s), along with the degree of certainty that the remedy will prove successful based on consideration of the following:

(I) Magnitude of reduction of existing risks;

(II) Magnitude of residual risks in terms of likelihood of further releases due to waste remaining following implementation of the proposed remedy;

(III) The type and degree of long-term management, including monitoring, operation, and maintenance;

(IV) Short-term risks that might be posed to the community, workers, or the environment during implementation of the corrective action(s), including potential threats to human health and the environment associated with excavation, transportation and redisposal, or containment;

(V) Time until full protection is achieved;

(VI) Potential for exposure of humans and environmental receptors to remaining waste, considering the potential threat to human health and the environment associated with excavation, transportation, and redisposal, or containment;

(VII) Long-term reliability of the engineering and institutional controls; and

(VIII) Potential need for replacement of the corrective action(s).

B. The effectiveness of the corrective action(s) in controlling the source to reduce further releases based on consideration of the following factors:

(I) The extent to which containment practices will reduce further releases; and

(II) The extent to which treatment technologies may be used.

C. The ease or difficulty of implementing the potential corrective action(s) based on consideration of the following types of factors:

(I) Degree of difficulty associated with constructing the corrective action(s) technology;

(II) Expected operational reliability of the proposed technologies;

(III) The need to coordinate with and obtain necessary approvals and permits from other agencies;

(IV) Availability of necessary equipment and specialists; and

(V) Available capacity and location of needed treatment, storage, and disposal services.

D. The degree to which community concerns are addressed by the proposed corrective action(s).

4. The owner/operator shall specify as part of the proposed corrective action(s) a schedule for initiating and completing corrective action(s). This schedule shall require the initiation of corrective action(s) within a reasonable period of time. The owner/operator shall include the following factors in selecting corrective action(s):

A. Extent and nature of contamination;

B. Practical capabilities of remedial technologies in achieving compliance with groundwater protection standards pursuant to this rule and other objectives of the remedy;

C. Availability of treatment or disposal capacity for wastes managed during implementation of the corrective action(s);

D. Desirability of utilizing technologies that are not currently available, but which may offer significant advantages over already available technologies in terms of effectiveness, reliability, safety, or ability to achieve remedial objectives;

E. Potential risks to human health and the environment from exposure to contamination prior to completion of the corrective action(s);

F. Resource value of any affected aquifer including:

(I) Current and future uses;

(II) Proximity and withdrawal rate of users;

(III) Groundwater quantity and quality;

(IV) The potential damage to wildlife, crops, vegetation, and physical structures caused by exposure to the waste constituent;

(V) The hydrogeologic characteristic(s) of the facility and surrounding land;

(VI) Groundwater removal and treatment costs; and

(VII) The cost and availability of alternative water supplies.

G. Practicable capability of the owner/operator; and

H. Other relevant factors.

5. The department may determine that remediation of a release of any constituent listed in Appendix I, Appendix II, Appendix III, or Appendix IV of this rule from a landfill is not necessary if the owner/operator demonstrates to the satisfaction of the department that:

A. The groundwater is additionally contaminated by substances that have originated from a source other than the landfill and those substances are present in concentrations such that a cleanup of the release from the landfill unit would provide no significant reduction in risk to actual or potential receptors;

B. The constituent(s) is present in groundwater that:

(I) Is not a current or potential source of drinking water; and

(II) Is not hydraulically connected with waters to which the hazardous constituents are migrating or are likely to migrate in a concentration(s) that represents an SSI over background concentrations.

C. Remediation of the release(s) is technically impracticable; or

D. Remediation would result in unacceptable cross-media impacts.

6. A determination by the department pursuant to paragraph (10)(C)5. of this rule shall not affect the authority of the department to require the owner/operator to undertake source control measures or other measures that may be necessary to eliminate or minimize further releases to the groundwater, to prevent exposure to the groundwater, or to remediate the groundwater to concentrations that are technically practicable and which significantly reduce threats to human health or the environment.

7. A corrective action financial assurance instrument (FAI) shall be established pursuant to 10 CSR 80-2.030(4)(C)2.

(D) Implementation of the Corrective Action(s) Program.

1. Based on the schedule established for initiation and completion of corrective action(s), the owner/operator shall:

A. Establish and implement a corrective action(s) groundwater monitoring program that:

(I) At a minimum, meets the requirements of an assessment monitoring program as outlined in section (9)(G) of this rule;

(II) Indicates the effectiveness of the corrective action(s); and

(III) Demonstrates compliance with the groundwater protection standard.

B. Implement the corrective action(s) selected; and

C. Take any interim corrective action(s) necessary, any action(s) determined to be necessary by the department, or both, to ensure the protection of human health and the environment. Interim corrective action(s) shall, to the greatest extent practicable, be consistent with the objectives of and contribute to the performance of any action(s) selected. The following factors shall be considered by an owner/operator, and will be considered by the department, in determining whether interim action(s) is necessary:

(I) Time to develop and implement a final remedy;

(II) Actual or potential exposure of nearby populations or environmental receptors to hazardous constituents;

(III) Actual or potential contamination of drinking water supplies or sensitive ecosystems;

(IV) Further degradation of the groundwater that may occur if a corrective action(s) is not initiated expeditiously;

(V) Weather conditions that may cause hazardous constituents to migrate or be released;

(VI) Risks of fire, explosion, or potential for exposure to hazardous constituents as a result of an accident or failure of a container or handling system; and

(VII) Any other situations that may pose threats to human health or the environment.

2. The department may determine, based on information developed after implementation of the corrective action(s) has begun, or other information, that compliance is not being achieved through the action(s) selected. In those cases, the owner/operator shall implement other methods or techniques that will achieve compliance with the requirements, unless the department makes the determination pursuant to paragraph (10)(D)3. of this rule.

3. If the department determines that compliance cannot be practically achieved with any currently available methods, the owner/operator shall:

A. Obtain the certification of a qualified groundwater scientist and approval from the department that compliance cannot be practically achieved with any currently available methods;

B. Implement alternative corrective action(s) to control exposure of humans or the environment to residual contamination, as necessary, to protect human health and the environment;

C. Implement alternative corrective action(s) for control of the sources of contamination, or for removal or decontamination of equipment, units, devices, or structures that are:

(I) Technically practicable; and

(II) Consistent with the overall objective of the corrective action(s).

D. Submit a report to the department justifying the alternative corrective action(s). The alternative action(s) must be approved by the department prior to implementation.

4. All solid wastes that are managed pursuant to a corrective action(s) plan or an interim corrective action(s) plan shall be managed in a manner:

A. That is protective of human health and the environment; and

B. That complies with all applicable state and federal requirements.

5. Remedies selected shall be considered complete when:

A. The owner/operator complies with the groundwater protection standards established under this rule at all points within the plume of contamination;

B. Compliance with the groundwater protection standards has been achieved by demonstrating that concentrations of all constituents listed in Appendix I, Appendix II, Appendix III, or Appendix IV of this rule have not exceeded the groundwater protection standard(s) for a period of three (3) consecutive years using the approved statistical procedures and performance standards. The department may specify an alternative length of time during which the owner/operator shall demonstrate that concentrations of all constituents listed in Appendix I, Appendix II, Appendix III, or Appendix IV of this rule have not exceeded the groundwater protection standard(s) taking into consideration:

(I) Extent and concentration of the release(s);

(II) Behavioral characteristics of the hazardous constituents in the groundwater;

(III) Accuracy of monitoring or modeling techniques, including any seasonal meteorological, or other environmental variabilities that may affect the accuracy; and

(IV) Characteristics of the groundwater.

C. All actions required to complete the corrective action(s) plan have been completed.

6. Upon completion of the corrective action(s), the owner/operator shall submit a certification to the department within fourteen (14) days after the corrective action(s) has been completed and shall place a copy of the certification in the facility’s operating record. The certification shall be signed by both the owner/operator and a qualified groundwater scientist and approved by the department.

7. When, upon completion of the certification, the owner/operator and the department determine that the corrective action(s) has been completed, the owner/operator shall be released from the requirements for financial assurance for corrective action pursuant to 10 CSR 80-2.030(6)(C)3.

(11) Air Quality.

(A) The design, construction, and operation of  a sanitary or demolition landfill shall minimize impacts and threats to human health or the environment and shall comply with applicable ambient air quality and source control regulations.

(B) Design and operational plans shall include a description of efforts to be taken to prevent offsite emissions, including an effective dust and odor control program.

(C) Operation and maintenance of any landfill gas collection and control system shall be in accordance with the Missouri Solid Waste Management Law and regulations (MSWML&r) and the Missouri Air Conservation Law and regulations (MACL&r).

(D) The landfill owner/operator shall take steps to prevent excessive odors or dust or any leachate spray from application to the working face, from leaving the landfill property.

(E) Burning at the landfill shall be conducted away from the waste and any landfill infrastructure, in accordance with the terms and conditions of the landfill’s permit, all department requirements, and all local requirements. Burning within the permit boundary of any landfill shall be limited to tree trunks, tree limbs, and vegetation resulting from land clearing related to landfill operation and development. Burning of all other solid waste is prohibited within the landfill’s permit boundary.

(F) The landfill owner/operator shall ensure the landfill does not exceed approved operating temperatures. Any exceedances must be approved by the Waste Management Program and Air Pollution Control Program.

(12) Landfill Gas Monitoring.

(A) The owner/operator of a sanitary or demolition landfill that has an approved landfill gas monitoring program, prior to the effective date of this rule, shall continue to comply with the approved program. Any landfill for which the department determines there is a need for a landfill gas monitoring program, a revision to the currently approved program, and all new sanitary and demolition landfills shall conduct landfill gas monitoring in accordance with this section.

(B) The department may apply some or all of the requirements of this section to the design and maintenance of any landfill that has ceased accepting waste, if the department determines there is evidence of an existing or potential safety concern or environmental impact.

(C) The landfill gas monitoring plan shall be prepared by a licensed professional engineer and be capable of detecting landfill gases in the most likely zone(s) of migration to ensure concentrations of methane gas do not exceed the limits set out in this rule. The plan shall describe the monitoring systems, equipment, and procedures that will be utilized to detect methane that is generated in the landfill and may accumulate in structures or migrate through the subsurface beyond the permit boundary.

1. The landfill gas monitoring plan shall include the following:

A. Provisions for monitoring the subsurface for migration of methane gas utilizing a network of landfill gas compliance monitoring wells installed within the permitted boundary.

(I) Gas monitoring well and well network – design and construction.

(a) Wells shall be designed and installed to monitor all unsaturated zones down to an elevation equal to the bottom elevation of waste at the lowest point in the landfill and shall include all site-specific information used as a basis for the design, construction, installation, and monitoring of the wells.

(b) The maximum spacing between landfill gas compliance monitoring wells shall be five hundred feet (500') at any two (2) adjacent well locations, unless the department approves documentation provided in the landfill gas monitoring plan that a hydrologic or topographic barrier to methane gas migration exists in a specific area of the site.

(c) The owner/operator shall assess the need for a closer well spacing to provide monitoring for:

I. Major structures located within one thousand feet (1,000') of the permitted boundary;

II. Underground utility lines, trenches, vaults, manholes, and any other potential confined spaces that are located within the permitted boundary or within one thousand feet (1,000') of the permitted boundary, and may require entry by a worker or property owner, or that could act as a conduit for landfill gas flow;

III. Any known natural subsurface gas migration pathways, based on documentation of the geologic, hydrologic, and topographic conditions of the site and the surrounding property located within one thousand feet (1,000') of the permitted boundary;

IV. Any known manmade subsurface gas migration pathways, based on knowledge of the site and the surrounding property; and

V. Any area of the site that was subject to historical methane migration assessments or investigation.

(d) The department may waive the requirement to install landfill gas compliance monitoring wells, provided the landfill owner/operator demonstrates to the department that a hydrologic or topographic barrier exists in a specifically-defined area between the waste boundary and the permitted boundary. The demonstration(s) shall be submitted to the department with, or as an addendum to, the landfill gas monitoring plan, and shall address the following:

I. To demonstrate the presence of a hydrologic barrier, the landfill owner/operator shall submit documentation to the department, signed and sealed by a registered geologist, that provides evidence that hydrologic conditions exist within the defined area that preclude the migration of methane gas onto an adjacent property via a subsurface migration pathway. To be classified as a hydrologic barrier, the hydrologic conditions must meet the following criteria:

a. The natural subsurface migration pathway is continuously saturated in a zone defined by a vertical surface that is located between the outermost limits of waste and the permit boundary. This continuously saturated zone must extend vertically down to the lowest elevation of waste;

b. The hydrologic barrier extends horizontally the entire extent of the defined area; and

c. The saturated conditions are permanent (e.g. not seasonal or weather dependent) within the defined area.

II. To demonstrate a topographic cut-off, the owner/operator shall submit documentation to the department, sealed by a licensed professional engineer or registered geologist that provides evidence that the ground surface elevation of the defined area is below the lowest elevation of waste. The defined area shall be located between the outermost limits of waste and the permit boundary.

B. Provisions for monitoring for methane gas in each enclosed structure or confined space located within the permitted boundary of the landfill.

(D) Landfill Gas Monitoring Well Network – Operation and Maintenance.

1. Wells shall be constructed, installed, maintained, and plugged in accordance with the Missouri Monitoring Well Construction Code, 10 CSR 23-4.

2. The survey coordinates and the top-of-casing elevation for each well shall be established using conventional or Global Positioning System surveying techniques and submitted to the department with the monitoring system as-built drawings.

3. Each well shall be marked clearly in the field with a permanent placard or sign showing its identification number.

4. Each well shall be equipped with a sampling port to allow sampling without removal of the well cap.

5. All monitoring wells shall be protected from unauthorized access and kept locked and secured at all times.

6. The landfill owner/operator shall sample all landfill gas compliance monitoring wells at least quarterly, or more frequently if required by the department to protect human health or guide corrective actions.

7. The landfill owner/operator shall measure the following constituents in each landfill gas compliance monitoring well during each sampling event:

A. Methane gas concentration (percent methane by volume);

B. Oxygen concentration (percent oxygen);

C. Carbon dioxide concentration (percent carbon dioxide);

D. Atmospheric (barometric) pressure (inches Hg); and

E. Other constituents if the department determines that conditions at the landfill warrant the need for additional information to protect human health or the environment.

8. Methane gas shall not be allowed to accumulate above the following concentrations:

A. Twenty-five percent (25%) of the lower explosive limit (LEL) or one and one-quarter percent (1.25%) methane by volume in air in major structures within the permit boundary;

B. Fifty percent (50%) of the LEL or two and one-half percent (2.5%) by volume for methane in the soil at the permitted boundary of the landfill;

C. For purposes of this section, LEL means the lowest percent by volume of a mixture of explosive gases in air that will propagate a flame at twenty-five degrees Celsius (25°C) and atmospheric pressure.

9. The landfill owner/operator shall submit all monitoring results electronically to the department within seven (7) days of collection:

A. At least quarterly, or more frequently if required due to detection of methane gas above limits pursuant to subsection (12)(D)8. of this rule; and

B. In a format and manner prescribed by the department.

(13) Landfill Gas Collection and Control.

(A) The owner/operator of a sanitary or demolition landfill that has an approved landfill gas collection and control system prior to the effective date of this rule shall continue to operate pursuant to the approved plan. Any landfill for which the department determines there is a need for a landfill gas collection and control system or a revision to an approved system, and all new landfills, shall submit a landfill gas collection and control system design in accordance with this section. Landfills receiving waste on or after the effective date of this rule shall prevent the migration of landfill gases through the use of an active gas collection and control system.

(B) Design.

1. The active landfill gas collection and control system shall be designed to prevent the migration of methane gas through the subsurface into major structures within the permitted boundary or onto surrounding properties.

2. The plans for the design of the landfill gas collection and control system shall include, at a minimum, the following:

A. Drawings that show the layout and locations of all landfill gas, gas condensate, and, if applicable, pneumatic control system components and equipment, specifications of all piping systems, locations of all components, trench specifications, and system connections and piping configurations for all components;

B. Calculations estimating the maximum potential gas generation at the landfill and the length of time over which gas may be generated, calculations verifying design and flow capacity of the gas collection and control system over the intended use of the system, and estimating when gas control will need to be implemented for each portion of the landfill;

C. Design specifications for all materials, components, and equipment used in the landfill gas collection and control system;

D. A landfill gas collection well schedule indicating, for each well, the approximate elevation of the landfill surface at the location of the well, the proposed elevation of the top of base liner at the location of the well, the proposed length of slotted and solid pipe in the well, and the proposed depth of the well;

E. A well construction diagram (cross-section documentation) illustrating the design details for a typical landfill gas collection well, and showing the diameter of the borehole, the material specifications for the well riser, the dimensions and material specifications for the borehole seals, the dimensions and material specifications for the filter pack, and the type of surface completion;

F. Construction diagrams illustrating the design details for all collection points, including, but not limited to, the horizontal collection trenches, passive systems, or surface collection components; and

G. All applicable permits and approvals necessary to comply with the requirements of the MACL&r.

3. All landfill gas collection wells installed in waste shall be designed such that the bottom of the well borehole is no closer than ten feet (10') above the top of the landfill liner.

4. The owner/operator also shall submit to the department a detailed operating and maintenance plan for the landfill gas collection and control system installed within the landfill footprint, and any landfill gas collection and control systems external to the landfill footprint. The operating and maintenance plan shall address the system(s) in its entirety and each system component individually.

5. The department may approve the use of an alternative gas system design on a case-by-case basis.

(C) Operation.

1. The owner/operator of a sanitary or demolition landfill shall control methane gas on-site so that it will not accumulate in explosive or toxic concentrations and migrate laterally from the waste to endanger the health of landfill personnel or the public, or pose a threat to the environment.

2. The department may require a landfill owner/operator to install a portion or all of an approved landfill gas collection and control system, install an interim landfill gas collection and control system, or expand the gas collection and control system in specific areas of the landfill as necessary to control landfill gas.

3. The system components shall be routinely inspected and tuned as needed to optimize performance. The landfill owner/operator shall investigate the reason for any reduced performance and make necessary adjustments and repairs to the system to ensure compliance with this rule.

(D) Landfill Gas Extraction Well Network – Operation and Maintenance.

1. The survey coordinates and the top-of-casing elevation for each well shall be established using conventional or Global Positioning System (GPS) surveying techniques and submitted to the department with the monitoring system as-built drawings.

2. Each well shall be marked clearly in the field with a permanent placard or sign showing its identification number.

3. Each well shall be equipped with a sampling port to allow sampling without removal of the well cap.

4. The landfill owner/operator shall sample all landfill gas extraction wells at least quarterly, or more frequently if required by the department to protect human health or guide corrective actions.

5. The landfill owner/operator shall measure the following constituents in each landfill gas extraction well during each sampling event:

A. Temperature at the well head (Fahrenheit);

B. Methane gas concentration (percent methane by volume);

C. Oxygen concentration (percent oxygen);

D. Carbon dioxide concentration (percent carbon dioxide);

E. Atmospheric (barometric) pressure (inches Hg);

F. Liquid level;

G. Other constituents if the department determines that conditions at the landfill warrant the need for additional information to protect human health or the environment; and

H. Any sampling results collected as a result of requirements from other state or federal agencies stricter than those outlined in this subsection shall also be submitted to the Waste Management Program.

6. The landfill owner/operator shall submit all monitoring results electronically to the department within seven (7) days of collection, in a format and manner prescribed by the department.

(E) Alternative use of Landfill Gas Extraction Systems

1. This section applies to any disposal facility using the combustible gases generated from decomposing waste in any manner other than direct destruction in a flare. Such as, combustion for heating within or outside the facility, utilizing the gas in the generation of electricity, refining the gas for sale as a fuel, or any manner other than direct flaring/destruction on-site.

2. The landfill gas collection and control system’s principal and exclusive purpose is to prevent the migration of methane gas through the subsurface into major structures within the permitted boundary or onto surrounding properties. Approval of alternative use of gas extraction systems is at the department’s discretion and may be revoked at any time.

3. Any disposal facility operating a gas extraction system as defined in subsection (E)1. of this rule that receives a violation or fine from any state or federal agency for a subsurface oxidation event shall:

A. Cease operation of that alternative use system;

B. Resume direct destruction of the gas through flaring; and

C. May not resume operation of the alternative use system until the event has been controlled for at least one year.

(14) Landfill Gas Corrective Action.

(A) In the event methane gas is detected migrating from the landfill permit boundary and accumulating above the concentrations specified in subsection (12)(D)8. of this rule, the sanitary or demolition landfill owner/operator shall take immediate action to protect the health and safety of the public and landfill personnel and prevent any threat to the environment.  The owner/operator shall implement appropriate and timely corrective action(s) to control the methane gas and prevent its migration through the subsurface beyond the permitted boundary, onto any surrounding properties, or into enclosed structures or major structures.

(B) The landfill owner/operator shall take the following actions upon detection of methane gas concentrations above the limits in subsection (12)(D)8. of this rule:

1. Notify the following parties that a methane gas exceedance has been discovered within twenty-four (24) hours:

A. Fire department or local emergency management personnel;

B. The department; and

C. Owners/operators and occupants of properties within one thousand feet (1,000') of any compliance monitoring well exhibiting concentrations above the limit(s) provided in subsection (12)(D)8. of this rule.

2. For concentrations of methane gas detected in structures on- or off-site above the limits in subsection (12)(D)8. of this rule, immediately take all appropriate actions to mitigate the effects of methane gas accumulation in those structures until a permanent remediation is completed and concentrations remain below the limits. As determined by the department, these corrective actions may include, but are not limited to the following:

A. Emergency actions required by the fire department or local emergency management personnel to protect the health and safety of landfill personnel and the public;

B. Ventilate any confined spaces that may accumulate methane gas and install methane gas detectors in any major structures; and

C. Establish a temporary landfill gas monitoring program in affected structures using an increased monitoring frequency from the frequency in subsection (12)(D) of this rule.

(C) The department may establish alternative, more frequent, schedules for monitoring, notification, and implementation of corrective actions to protect the health and safety of landfill personnel, the public, and the environment.

(D) Within seven (7) days of detection, submit to the department a report describing the notification process and steps taken to protect personnel and public health and safety;

(E) Within forty-five (45) days of detection, submit to the department for approval a corrective action plan signed and sealed by a licensed professional engineer to mitigate the methane gas migration. The plan shall investigate the reason for the migration, describe the nature and extent of the migration, and propose a remedy to correct the migration. The plan shall also include an evaluation of the existing gas collection and control system and an assessment of the leachate level in the landfill gas collection wells installed in the waste mass. Until the gas migration is halted, liquid levels in the landfill and gas collection and control system shall be monitored and maintained at a minimal level to ensure the system is capable of operating at its maximum performance.

(F) A corrective action FAI shall be established pursuant to 10 CSR 80-2.030(4)(C)2.

(G) While the landfill is experiencing ongoing methane gas migration, the owner/operator shall notify the department:

1. Within one (1) business day of discovering that the landfill gas collection and control system has been taken out of service for greater than twenty-four (24) hours due to damage or malfunction;

2. At least seven (7) days in advance of any scheduled activity that requires the shutdown of the system for longer than twenty-four (24) hours. This notification is in addition to the reporting requirements of 40 C.F.R. Part 60 Subpart XXX and 40 C.F.R. Part 63 Subpart AAAA and shall be made to both the Air Pollution Control Program and the Waste Management Program.

(H) If upon completion of the department’s review of the corrective action plan, the department finds the plan does not provide sufficient data to support the corrective actions proposed in the plan, the department shall deny the plan. Approval or disapproval must be granted by the department within 14 days of receipt. The landfill owner/operator shall submit a revised corrective action plan within thirty (30) days of the department’s denial of the original corrective action plan.

(I) Once the corrective action plan has been approved by the department, the landfill owner/operator shall initiate the plan within one hundred twenty (120) days, or an alternative timeframe approved or established by the department, monitor results of corrective actions taken, analyze and report to the department on the impact of corrective actions taken, and continue to propose and implement approved corrective actions until the methane gas concentrations remain below the limits in subsection (12)(D)8. of this rule.

(J) When the methane gas concentrations in all compliance monitoring wells remain below limits provided in subsection (12)(D)8. of this rule for longer than one (1) month, the landfill owner/operator may request a reduction in the gas monitoring frequency. If the methane gas concentrations remain below the limits for longer than three (3) months, the landfill owner/operator may petition the department to return to a quarterly landfill gas monitoring schedule. The schedule for corrective action implementation and completion of construction/installation, monitoring, analysis, and reporting of the results of any corrective actions shall be set by the department, based upon site-specific conditions and the corrective actions proposed.

(15) Vectors. The sanitary or demolition landfill owner/operator shall operate and maintain the landfill in a manner that is unfavorable for the harboring, feeding, and breeding of vectors and immediately implement those procedures when vectors are observed. The landfill operations plan shall include contingency plans for vector control, and the owner/operator shall be prepared to immediately implement those procedures when vectors are first observed.

(16) Aesthetics.

(A) The owner/operator of any active sanitary or demolition landfill shall operate the landfill in an aesthetically acceptable manner.

(B) Wastes that are easily moved by wind shall be covered to prevent becoming airborne and scattered, and the landfill shall employ effective litter control methods and best management practices to prevent litter from travelling beyond the permit boundary. The landfill operations plan shall include a contingency plan for managing litter and the owner/operator promptly implements the procedures when scattered litter is first observed.

(C) On-site vegetation should be cleared only as necessary. Natural windbreaks, such as green belts, should be maintained to reduce noise, dust, and odors, and improve the appearance and operation of the landfill.

(17) Cover.

(A) Cover shall be applied at the sanitary or demolition landfill to minimize fire hazards, infiltration of precipitation, odors and blowing litter and waste, control gas venting and vectors, discourage scavenging, and provide a pleasing appearance.

(B) The owner/operator shall include in the landfill’s operations plan a description of daily and intermediate cover to be placed over waste at the landfill and a closure/post-closure plan with the design and construction of a final cover system over each phase or cell as it reaches the approved final elevation, in accordance with this rule.

1. The operations plan shall include:

A. The proposed daily and intermediate cover sources and quantities;

B. A demonstration of the capability of the cover to perform the functions listed above; and

C. A description of the design, construction, and landfill operations to ensure active, intermediate, and final slopes shall not exceed thirty-three and one-third percent (33 1/3%).

2. The closure/post-closure plan shall include:

A. A description of how the landfill will be prepared for closure and the procedures to establish and maintain vegetative growth to combat erosion and improve appearance of idle and completed areas, including fertilizer rate, soil conditioning rate, seeding rate, and provisions for mulching;

B. Procedures to maintain intermediate and final cover integrity, for example, regrading and recovering;

C. Methods for borrow areas to be reclaimed on-site so as to restore aesthetic qualities and prevent excessive erosion;

D. Provisions for construction of the final slope of the top of the landfill to have a minimum slope of five percent (5%);

E. A design of the final side slopes that will not exceed twenty-five percent (25%) to minimize infiltration, promote run-off without excessive erosion, unless it has been demonstrated in a detailed slope stability analysis approved by the department that the slopes can be constructed and will be maintained throughout the entire operational life and post-closure period of the landfill;

F. Shear failure analyses where intermediate or final slopes exceed twenty-five percent (25%). The department will waive the analysis for slopes of twenty-five percent (25%) or less, except in seismic impact zones;

G. The design and installation of the geomembrane layer, which is to be in intimate contact with the underlying compacted clay;

H. The proposed cover sources, quantities, and soil classifications (Unified Soil Classification System or United States Department of Agriculture classification system);

I. Maintenance programs and provisions, where necessary, for groundwater monitoring and monitoring and controlling methane gas and leachate;

J. The design and installation of the final cover system(s) and provisions for slope stability; and

K. A final cover system installation schedule as each phase of the landfill reaches approved elevations.

(C) Daily/Weekly Cover and Maintenance.

1. For active sanitary landfills, the owner/operator shall apply no less than six inches (6”) of cover soil by the end of each operating day, regardless of weather, unless an alternative is approved by the department. The practice of peeling back and reusing cover soil is an approved practice so long as the method is contained in the operating plan and achieves the purposes for cover described in subsection (17)(A) of this rule. If the application of the approved practice does not meet these criteria, the department may revoke approval of a landfill’s use of this practice. Sanitary landfills utilizing the practice of peel back must place no less than six inches (6") of clean soil to cover waste at least once at the end of each operating week, regardless of weather, that cannot be peeled back. Sanitary landfills operating twenty-four (24) hours per day shall cover the waste at least once every twenty-four (24) hours.

2. Alternative daily cover.

A.  An alternative daily cover may be approved by the department on a site-specific basis at an active sanitary landfill if the owner/operator demonstrates that the alternative material and the thickness applied achieves the purposes for cover described in subsection (17)(A) of this rule. If application of the approved alternative daily cover does not meet these criteria, the department may revoke approval of a landfill’s use of this practice.

B. In the event the use of an alternative daily cover is approved by the department, the landfill owner/operator shall make all efforts to ensure that the use of alternative daily cover does not contribute to increased odor and leachate generation, litter and waste blowing from the working face, or attraction of vectors.

3. For active demolition landfills, no less than twelve inches (12") of cover soil shall be applied at least once at the end of each operating week or immediately before the facility closes if the facility is to be closed for more than twenty-four (24) hours.

(D) Final Cover Design and Construction.

1. The owner/operator shall include in the landfill’s closure/post-closure plan the design and construction of a final cover system over each phase or cell as it reaches the approved final elevation in accordance with this rule.

A. For active landfills with composite liners, final cover shall be designed and constructed in composite layers, in order from top to bottom as follows:

(I) Two feet (2') of soil capable of sustaining vegetative growth;

(II) A drainage layer;

(III) A geomembrane liner at least as thick as the minimum thickness pursuant to subparagraph (4) (B)16 of this rule; and

(IV) One foot (1') of compacted soil with a coefficient of permeability of 1 x 10-5 cm/sec or less.

B. For active landfills without composite liners, the final cover shall consist of at least two feet (2') of compacted soil with a coefficient of permeability of 1 x 10-5 cm/sec or less and overlaid by at least one foot (1') of soil capable of sustaining vegetative growth.

C. For active sanitary or demolition landfills constructed with composite liners, engineered synthetic turf covers may be approved by the department if the landfill owner/operator can demonstrate that the alternative final cover controls stormwater run-on and run-off and prevents disease, vectors, fire odors, and blowing litter and waste, without presenting a threat to human health and the environment. Engineered synthetic turf cover systems shall be designed and constructed in composite layers, in order from top to bottom, as follows:

(I) A ballasting layer of at least one-half inch (½'') of sand capable of preventing wind up-lift of the underlying synthetics or equivalent as approved by the department;

(II) An artificial turf layer;

(III) A drainage layer;

(IV)A geomembrane at least as thick as the minimum thickness pursuant to paragraph (4)(B)15. of this rule;

(V) One foot (1') of compacted soil with a coefficient of permeability of 1 x 10-5 cm/sec or less; and

(VI) One foot (1') of nominally compacted soil.

(E) For sanitary and demolition landfills:

1. Surface grades and side slopes shall be constructed and maintained to promote run-off without excessive erosion;

2. Re-grading and re-covering shall be performed as necessary, followed by re-establishing vegetation, to maintain landfill cover, slope, and integrity;

3. All final side slopes and the slope of the top of the landfill shall be constructed with provisions for slope stability and subsequently maintained to comply with the landfill’s approved closure/post-closure plan;

4. Borrow areas shall be reclaimed in accordance with the approved closure/post-closure plan;

5. Vegetation shall be established within one (1) year or other schedule approved by the department. Vegetation will be maintained and re-established as necessary to achieve greater than eighty percent (80%) coverage to protect the landfill final cover and prevent surface water infiltration.

6. In areas of the landfill where waste has not been accepted for more than sixty (60) days, cover soil shall be increased to a total thickness of at least one foot (1') of compacted cover and the area seeded to encourage vegetative growth;

7. Final cover shall be constructed, installed and maintained in accordance with the landfill’s approved closure/post-closure plan; and

8. The department may approve the use of an alternative final cover system if the owner/operator can demonstrate to the department that the alternative design will be at least equivalent to the final cover system described in this rule.

(18) Compaction.

(A) In order to conserve airspace and minimize moisture infiltration and settlement, the active sanitary or demolition landfill owner/operator shall:

1. Compact the solid waste and cover to the smallest practicable volume;

2. Minimize the size of the working face; and

3. Maintain equipment and have it readily available on-site or arrange for equipment to be readily available for use to ensure uninterrupted operations.

(19) Safety.

(A) The sanitary or demolition landfill owner/operator shall design, construct, operate, and maintain the landfill to protect the health and safety of landfill personnel and the public. Safety provisions shall be implemented at the landfill and adjusted as necessary to keep personnel and the public safe during operations.

(B) The landfill’s operations plan shall include provisions to promote orderly operations and control access to and traffic on the landfill. Ingress and egress must be compatible with the surrounding transportation infrastructure and traffic patterns.

(C) Scavenging is prohibited at the landfill.

(D) The landfill owner/operator shall employ dust control provisions as necessary for safe operation, safe traffic flow, and to prevent a nuisance to the surrounding area.

(E) Adequate communications equipment shall be available for use by landfill personnel.

(F) The landfill owner/operator shall prepare a plan of procedures to implement in the event of emergencies that occur at the landfill, including but not limited to, slope failure or firefighting. The plan shall  be made available to landfill personnel to provide them with the appropriate emergency contact information and delegation of authority to implement during any emergency event.

(G) A fire extinguisher shall be present on all waste handling equipment.

(H) An area shall be established away from filled areas and the working face to dump hot loads or waste that is on fire and extinguish them.

(I) Any fire discovered in waste delivered to the landfill shall be extinguished away from the working face, whenever possible.

(J) Any surface fire discovered within the permit boundary, at the working face, a subsurface fire discovered at the landfill, or an oxidation or smoldering event (whether physical or chemical in nature) found at the landfill shall be extinguished immediately, and the landfill owner/operator shall notify the department as soon as it has been discovered.

(K) Any landfill that has accepted RACM shall have a certified asbestos inspector present whenever waste is excavated or disturbed at the facility.

(20) Records.

(A) The owner/operator of an active sanitary or demolition landfill shall maintain plans, addendums, as-built drawings, or other documents that describe the approved design, construction, operation, closure and post-closure care plans, and monitoring data for the landfill as specified by the department. These documents shall be kept available for use and reference on-site.

1. The landfill owner/operator shall describe the methods for creating and maintaining landfill records for operations and monitoring.

2. Records shall be maintained at the landfill office. Records five (5) years old or older may be stored electronically or at an alternate site if approved by the department but shall be made available to the department upon request.

3. The landfill files may be maintained on electronic media and shall include the following records, at a minimum:

A. Copies of approved permit documents and current permits;

B. A description of major operational problems, complaints, or difficulties, and any corrective action(s) taken;

C. Gas monitoring results and any corrective action plans being implemented;

D. Any demonstration, certification, finding, monitoring, testing, or analytical data;

E. Housekeeping records to summarize efforts taken for vector, dust, odor, and litter control;

F. Quantitative measurements of the solid waste disposed and an estimate of the air space remaining at the landfill.  By January 31, on even numbered years, the landfill owner/operator shall submit to the department two (2) copies of a current topographic map showing the horizontal and vertical limits of solid waste in the landfill along with the permit boundary. The map shall be prepared under the direction of a registered land surveyor or by aerial survey. The map shall be accompanied by a worksheet form provided by the department with an estimate of the airspace remaining at the time the measurements were taken;

G. Description, source, and volume of special wastes that are received and the Special Waste Disposal Request Form for each special waste that has been received, including chemical and analytical information or test results;

H. Any landfill design documentation for recirculation of leachate or gas condensate in a landfill, as applicable;

I. Closure and post-closure care plans and any associated monitoring, testing, or analytical data;

J. The most recently approved cost estimates and financial assurance documentation;

K. Inspection records and training procedures including screening for excluded wastes;

L. Records associated with tonnage fee; and

M. A report to the department that specifies the amount of solid waste received at the landfill for disposal from states other than Missouri. The report shall be submitted on or before January 31 of each calendar year and annually thereafter.

(B) Once a sanitary or demolition landfill ceases accepting waste, the landfill owner shall record the existence of the landfill with the recorder(s) of deeds in the county(ies) where the landfill is located. The owner may request permission from the department to remove the notation from the deed if all wastes are removed from the landfill.

1. The landfill owner/operator shall have a registered land surveyor prepare a survey and plat meeting the requirements of the current Minimum Standards of Property Boundary Survey 2 CSR 90 and a detailed description of the landfill. The survey plat and detailed description, at a minimum, shall contain the following information:

A. The name of the property owner as it appears on the property deed;

B. A detailed description of the property;

C. The general types of solid waste placed on-site and the locations and depths of waste within the landfill’s permit boundary;

D. The location of any leachate collection system, gas collection and control system, and existing gas, surface water, and groundwater monitoring system(s) that shall be maintained after closure, and the length of time that these systems are to be maintained; and

E. The permitted name and permit number(s) of the landfill.

2. The owner/operator shall:

A. Submit to and obtain approval from the department on the survey plat and detailed description of waste;

B. Have the approved plat notarized by a lawful notary public;

C. File the approved survey plat and detailed waste description with the county recorder(s) of deeds within thirty (30) days of departmental approval; and

D. Submit to the department within thirty (30) days of the date of filing two (2) copies of the notarized and properly recorded plat and detailed waste description showing the recorder(s) of deeds’ seal(s) or stamp(s), the book and page numbers, and the date of filing.

(21) Research, Development, and Demonstration (RD&D) Permits and RD&D Permit Modifications for Sanitary Landfills.

(A) The department may issue a permit or a permit modification to allow an owner/operator to design, construct, operate, and maintain a sanitary landfill as an RD&D landfill utilizing innovative and new designs and/or operations that vary from specific criteria listed in this rule, provided the landfill systems are designed and operated in a manner that is consistent with all other sections of this rule, protective of human health and the environment, and the RD&D permit shall specify that:

1. The owner/operator must submit an annual report to the department demonstrating whether and to what extent the site is progressing in attaining project goals. The report also will include a summary of all monitoring and testing results, an evaluation of the monitoring results, as well as any other operating information specified in the RD&D permit.

2. Any permit issued under this section shall not exceed three (3) years, each renewal of a RD&D permit may not exceed three (3) years, and the total term for a RD&D permit for a project, including renewals, may not exceed twenty-one (21) years.

3. During RD&D permit renewal, the applicant shall provide a detailed assessment of the project demonstrating the status with respect to achieving project goals, a list of problems and status with respect to problem resolutions, and any other requirements that the department determines necessary for RD&D permit renewal.

(B) For a proposed RD&D permit at a new sanitary landfill, the design plans shall address all elements of landfill design, construction, operation, and maintenance outlined in this rule, with special consideration for the effects of increased moisture content of the waste mass, including potential for increased leachate and decomposition gas generation.

(C) For a proposed RD&D permit at an active sanitary landfill, the design plans shall include an assessment of all previously approved aspects of design, construction, operation, and maintenance. Sanitary landfill systems and components shall be redesigned, construction procedures shall be developed, and all operating, monitoring, and quality control plans shall be revised, as necessary, with special considerations for RD&D operations and the effects of increased moisture content of the waste mass, including potential for increased leachate and decomposition gas generation.

(D) In addition, each RD&D permit application shall include:

1. An explanation of the objectives of the RD&D project;

2. Detailed explanations of the methods and procedures that will be used to add liquids, if applicable;

3. Detailed water balance calculations;

4. Detailed construction QA/QC procedures for all liquids addition systems;

5. A detailed operating and maintenance plan prepared as an addendum to the landfill’s operations plan, which includes:

A. Operating procedures for all RD&D systems and other systems whose operation could be affected by the increased moisture, including, but not limited to:

(I) All liquids addition systems;

(II) Leachate management systems;

(III) Landfill gas collection and control systems; and

(IV) Stormwater run-on and run-off control systems.

B. A detailed plan for inspecting all landfill control and monitoring systems and maintaining accurate records of each inspection.

6. Provisions for leak testing of the geomembrane component of the composite liner system following installation;

7. Facility designs that maintain a depth of leachate of less than one foot (1') on the landfill liner; and

8. A description of the types and quantities of municipal solid waste and non-hazardous wastes to be accepted for the purposes of determining the efficacy and performance capabilities of the technology or process.

(E) The department may order an immediate termination of RD&D operations at the facility allowed under this section or other corrective measures at any time the department determines that the overall goals of the project are not being attained, including protection of human health or the environment.

(22) Special Waste Landfills.

(A) Should an owner/operator request to permit a special waste landfill, the owner/operator shall include a demonstration of what sections of this rule, 10 CSR 80-2.015, 10 CSR 80-2.020, and 10 CSR 80-2.030 are and are not applicable to the landfill, as well as a detailed discussion explaining how that determination was made. The department will evaluate and decide whether the demonstration provided is adequate. For special waste landfills in operation at the time of the effective date of this rule, the landfill owner/operator has ninety (90) days after the effective date of this rule to submit a demonstration stating which parts of the rules are applicable and providing a detailed discussion explaining the rationale for excluding certain requirements.  The department will evaluate the demonstration and determine whether a modification is necessary.

(B) The department may require any special waste landfill owner/operator to design, construct, operate, modify, close, and maintain the landfill in accordance with any sanitary landfill requirement necessary to ensure the protection of human health and the environment.

(C) The modification shall meet the requirements of 10 CSR 80-2.020 (4) and the department may grant, if requested by the landfill owner/operator, a schedule of compliance of up to 5 years.

Appendix I - Constituents for Detection Monitoring for Sanitary Landfills

| Appendix I-Constituents for Detection Monitoring for Sanitary Landfills |  |
| --- | --- |
| Common Name | N/A |
| Indicator Constituents | N/A |
| Chemical Oxygen Demand (COD in milligrams per liter (mg/l)); | N/A |
| Chlorides (Cl, (mg/l)); | N/A |
| pH (units); | N/A |
| Specific Conductance (Conductivity at twenty-five degrees Celsius (25°C) in micromhos per centimeter (µmho/cm)); | N/A |
| Total Dissolved Solids (TDS, (mg/l)); | N/A |

Inorganic Constituents

| Inorganic Constituents | Total |
| --- | --- |
| Ammonia (mg/l) | Total |
| Antimony (µg/l) | Total |
| Arsenic (µg/l) | Total |
| Barium (µg/l) | Total |
| Beryllium (µg/l) | Total |
| Boron (µg/l) | Total |
| Cadmium (µg/l) | Total |
| Calcium (mg/l) | Total |
| Chromium (µg/l) | Total |
| Cobalt (µg/l) | Total |
| Copper (µg/l) | Total |
| Fluoride (mg/l) | Total |
| Hardness (calculated, mg/l) | Total |
| Lead (µg/l) | Total |
| Magnesium (mg/l) | Total |
| Manganese (µg/l) | Total |
| Nickel (Ni, mg/l) | Total |
| Nitrate/Nitrite (mg/l) | Total |
| Phosphorus (mg/l) | Total |
| Selenium (µg/l) | Total |
| Silver (µg/l) | Total |
| Sodium (mg/l) | Total |
| Sulfate (mg/l) | Total |
| Thallium (µg/l) | Total |
| Total Organic Carbon (TOC, mg/l) | Total |
| Vanadium (µg/l) | Total |
| Zinc (µg/l) | Total |

Organic Constituents

| Organic Constituents | CAS RN |
| --- | --- |
| Acetone | 67-64-1 |
| Acrylonitrile | 107-13-1 |
| Benzene | 71-43-2 |
| Bromochloromethane | 74-97-5 |
| Bromodichloromethane | 75-27-4 |
| Bromoform; Tribromomethane | 75-25-2 |
| Carbon disulfide | 75-15-0 |
| Carbon tetrachloride | 56-23-5 |
| Chlorobenzene | 108-90-7 |
| Chloroethane; Ethyl chloride | 75-00-3 |
| Chloroform; Trichloromethane | 67-66-3 |
| Dibromochloromethane; Chlorodibromomethane | 124-48-1 |
| 1,2-Dibromo-3-chloropropane; DBCP | 96-12-8 |
| 1,2-Dibromoethane; Ethylene dibromide; EDB | 106-93-4 |
| o-Dichlorobenzene; 1,2-Dichlorobenzene | 95-50-1 |
| p-Dichlorobenzene; 1,4-Dichlorobenzene | 106-46-7 |
| trans-1,4-Dichloro-2-butene | 110-57-6 |
| 1,1-Dichloroethane; Ethylidene chloride | 75-34-3 |
| 1,2-Dichloroethane; Ethylene dichloride | 107-06-2 |
| 1,1-Dichloroethylene; 1,1-Dichloroethene;-Vinylidene chloride | 75-35-4 |
| cis-1,2-Dichloroethylene; cis-1,2-Dichloroethene | 156-59-2 |
| trans-1,2-Dichloroethylene; trans-1,2-Dichloroethene | 156-60-5 |
| 1,2-Dichloropropane; Propylene dichloride | 78-87-5 |
| cis-1,3-Dichloropropene | 10061-01-5 |
| trans-1,3-Dichloropropene | 10061-02-6 |
| Ethylbenzene | 100-41-4 |
| 2-Hexanone; Methyl butyl ketone | 591-78-6 |
| Methyl bromide; Bromomethane | 74-83-9 |
| Methyl chloride; Chloromethane | 74-87-3 |
| Methylene bromide; Dibromomethane | 74-95-3 |
| Methylene chloride; Dichloromethane | 75-09-2 |
| Methyl ethyl ketone; MEK; 2-Butanone | 78-93-3 |
| Methyl iodide; Iodomethane | 74-88-4 |
| 4-Methyl-2-pentanone; Methyl isobutyl ketone (MIBK) | 108-10-1 |
| Styrene | 100-42-5 |
| 1,1,1,2-Tetrachloroethane | 630-20-6 |
| 1,1,2,2-Tetrachloroethane | 79-34-5 |
| Tetrachloroethylene; Tetrachloroethene; -Perchloroethylene (PCE) | 127-18-4 |
| Toluene | 108-88-3 |
| 1,1,1-Trichloroethane; Methylchloroform | 71-55-6 |
| 1,1,2-Trichloroethane | 79-00-5 |
| Trichloroethylene; Trichloroethene (TCE) | 79-01-6 |
| Tichlorofluoromethane; CFC-11 | 75-69-4 |
| 1,2,3-Trichloropropane | 96-18-4 |
| Vinyl acetate | 108-05-4 |
| Vinyl chloride (VC) | 75-01-4 |
| Xylenes (total) | 1330-20-7 |

Appendix II - Constituents for Assessment Monitoring for Sanitary Landfills

| Appendix II- Constituents for Assessment Monitoring for Sanitary Landfills |  |  |
| --- | --- | --- |
| Common Name | CAS RN | Chemical abstracts service index name |
| Acenaphthene | 83-32-9 | Acenaphthylene, 1,2-dihydro- |
| Acenaphthylene | 208-96-8 | Acenaphthylene |
| Acetone | 67-64-1 | 2-Propanone |
| Acetonitrile; Methyl cyanide | 75-05-8 | Acetonitrile |
| Acetophenone | 98-86-2 | Ethanone, 1-phenyl- |
| 2-Acetylaminofluorene; 2-AAF | 53-96-3 | Acetamide, N-9H-fluoren-2-yl- |
| Acrolein | 107-02-8 | 2-Propenal |
| Acrylonitrile | 107-13-1 | 2-Propenenitrile |
| Aldrin | 309-00-2 | 1,4:5,8-Dimethanonaphthalene, 1,2,3,4,10,10-hexachloro-1,4,4a,5,8,8a-hexahydro-(1,4,4a,5,8,8a)- |
| Allyl chloride | 107-05-1 | 1-Propene, 3-chloro- |
| 4-Aminobiphenyl | 92-67-1 | [1,1′-Biphenyl]-4-amine |
| Anthracene | 120-12-7 | Anthracene |
| Antimony | (Total) | Antimony |
| Arsenic | (Total) | Arsenic |
| Barium | (Total) | Barium |
| Benzene | 71-43-2 | Benzene |
| Benzo[a]anthracene; Benzanthracene | 56-55-3 | Benz[a]anthracene |
| Benzo[b]fluoranthene | 205-99-2 | Benz[e]acephenanthrylene |
| Benzo[k]fluoranthene | 207-08-9 | Benzo[k]fluoranthene |
| Benzo[ghi]perylene | 191-24-2 | Benzo[ghi]perylene |
| Benzo[a]pylene | 50-32-8 | Benzo[a]pyrene |
| Benzyl alcohol | 100-51-6 | Benzenemethanol |
| Beryllium | (Total) | Beryllium |
| alpha-BHC | 319-84-6 | Cyclohexane, 1,2,3,4,5,6-hexachloro-,(1α,2α,3β,4α,5β,6β)- |
| beta-BHC | 319-85-7 | Cyclohexane, 1,2,3,4,5,6-hexachloro-,(1α,2β,3α,4β,5α,6β)- |
| delta-BHC | 319-86-8 | Cyclohexane, 1,2,3,4,5,6-hexachloro-,(1α,2α,3α,4β,5α,6β)- |
| gamma-BHC; Lindane | 58-89-9 | Cyclohexane, 1,2,3,4,5,6- hexachloro-,(1α,2α, 3β, 4α,5α,6β)- |
| Bis(2-chloroethoxy)methane | 111-91-1 | Ethane, 1,1′-[methylenebis (oxy)]bis [2-chloro- |
| Bis(2-chloroethyl) ether; Dichloroethyl ether | 111-44-4 | Ethane, 1,1′-oxybis[2-chloro- |
| Bis(2-chloro-1-methylethyl) ether; 2,2’-Dichlorodiisopropyl ether; DCIP, | See Note 3. | Propane, 2,2′-oxybis[1-chloro- |
| Bis(2-ethylhexyl) phthalate | 117-81-7 | 1,2-Benzenedicarboxylic acid, bis(2-ethylhexyl)ester |
| Bromochloromethane; Chlorobromomethane | 74-97-5 | Methane, bromochloro- |
| Bromodichloromethane; | 75-27-4 | Methane, bromodichloro- |
| Bromoform; Tribromomethane | 75-25-2 | Methane, tribromo- |
| 4-Bromophenylphenyl ether | 101-55-3 | Benzene, 1-bromo-4-phenoxy- |
| Butyl benzyl phthalate; Benzyl butyl phthalate | 85-68-7 | 1,2-Benzenedicarboxylic acid, butyl phenylmethyl ester |
| Cadmium | (Total) | Cadmium |
| Carbon disulfide | 75-15-0 | Carbon disulfide |
| Carbon tetrachloride | 56-23-5 | Methane, tetrachloro- |
| Chlordane | See Note 4. | 4,7-Methano-1H-indene,1,2,4,5,6,7,8,8-octachloro-2,3,3a,4,7,7a-hexahydro- |
| p-Chloroaniline | 106-47-8 | Benzenamine, 4-chloro- |
| Chlorobenzene | 108-90-7 | Benzene, chloro- |
| Chlorobenzilate | 510-15-6 | Benzeneacetic acid, 4-chloro--(4-chlorophenyl)--hydroxy-, ethyl ester. |
| p-Chloro-m-cresol; 4-Chloro-3-methylphenol | 59-50-7 | Phenol, 4-chloro-3-methyl- |
| Chloroethane; Ethyl chloride | 75-00-3 | Ethane, chloro- |
| Chloroform; Trichloromethane | 67-66-3 | Methane, trichloro- |
| 2-Chloronaphthalene | 91-58-7 | Naphthalene, 2-chloro- |
| 2-Chlorophenol | 95-57-8 | Phenol, 2-chloro- |
| 4-Chlorophenyl phenyl ether | 7005-72-3 | Benzene, 1-chloro-4-phenoxy- |
| Chloroprene | 126-99-8 | 1,3-Butadiene, 2-chloro- |
| Chromium | (Total) | Chromium |
| Chrysene | 218-01-9 | Chrysene |
| Cobalt | (Total) | Cobalt |
| Copper | (Total) | Copper |
| m-Cresol; 3-methylphenol | 108-39-4 | Phenol, 3-methyl- |
| o-Cresol; 2-methylphenol | 95-48-7 | Phenol, 2-methyl- |
| p-Cresol; 4-methylphenol | 106-44-5 | Phenol, 4-methyl- |
| Cyanide | 57-12-5 | Cyanide |
| 2,4-D; 2,4-Dichlorophenoxyacetic acid | 94-75-7 | Acetic acid, (2,4-dichlorophenoxy)- |
| 4,4´-DDD | 72-54-8 | Benzene 1,1′-(2,2-dichloroethylidene) bis[4-chloro- |
| 4,4´-DDE | 72-55-9 | Benzene, 1,1′-(dichloroethenylidene) bis[4-chloro- |
| 4,4´-DDT | 50-29-3 | Benzene, 1,1′-(2,2,2-trichloroethylidene) bis[4-chloro- |
| Diallate | 2303-16-4 | Carbamothioic acid, bis(1-methylethyl)-, S- (2,3-dichloro-2-propenyl) ester. |
| Dibenz[a,h]anthracene | 53-70-3 | Dibenz[a,h]anthracene |
| Dibenzofuran | 132-64-9 | Dibenzofuran |
| Dibromochloromethane; Chlorodibromomethane | 124-48-1 | Methane, dibromochloro- |
| 1,2-Dibromo-3-chloropropane;DBCP | 96-12-8 | Propane, 1,2-dibromo-3-chloro- |
| 1,2-Dibromoethane; Ethylene dribromide; EDB | 106-93-4 | Ethane, 1,2-dibromo- |
| Di-n-butyl phthalate | 84-74-2 | 1,2-Benzenedicarboxylic acid, dibutyl ester |
| o-Dichlorobenzene; 1,2-Dichlorobenzene | 95-50-1 | Benzene, 1,2-dichloro- |
| m-Dichlorobenzene;1,3-Dichlorobenzene | 541-73-1 | Benzene, 1,3-dichloro- |
| p-Dichlorobenzene;1,4-Dichlorobenzene | 106-46-7 | Benzene, 1,4-dichloro- |
| 3,3´-Dichlorobenzidine | 91-94-1 | [1,1′-Biphenyl]-4,4′-diamine, 3,3′-dichloro- |
| trans-1,4-Dichloro-2-butene | 110-57-6 | 2-Butene, 1,4-dichloro-, (E)- |
| Dichlorodifluoromethane; CFC 12; | 75-71-8 | Methane, dichlorodifluoro- |
| 1,1-Dichloroethane; Ethyldidenechloride | 75-34-3 | Ethane, 1,1-dichloro- |
| 1,2-Dichloroethane; Ethylenedichloride | 107-06-2 | Ethane, 1,2-dichloro- |
| 1,1-Dichloroethylene; 1,1-Dichloroethene; | 75-35-4 | Ethene, 1,1-dichloro- |
| Vinylidene chloride; cis-1,2-Dichloroethylene; cis-1,2-Dichloroethene | 156-59-2 | Ethene, 1,2-dichloro-(Z)- |
| trans-1,2-Dichloroethylene trans-1,2-Dichloroethene | 156-60-5 | Ethene, 1,2-dichloro-, (E)- |
| 2,4-Dichlorophenol | 120-83-2 | Phenol, 2,4-dichloro- |
| 2,6-Dichlorophenol | 87-65-0 | Phenol, 2,6-dichloro- |
| 1,2-Dichloropropane; | 78-87-5 | Propane, 1,2-dichloro- |
| 1,3-Dichloropropane; Trimethylene dichloride | 142-28-9 | Propane, 1,3-dichloro- |
| 2,2-Dichloropropane; Isopropylidene chloride | 594-20-7 | Propane, 2,2-dichloro- |
| 1,1-Dichloropropene | 563-58-6 | 1-Propene, 1,1-dichloro- |
| cis-1,3-Dichloropropene | 10061-01-5 | 1-Propene, 1,3-dichloro-, (Z)- |
| trans-1,3-Dichloropropene | 10061-02-6 | 1-Propene, 1,3-dichloro-, (E)- |
| Dieldrin | 60-57-1 | 2,7:3,6-Dimethanonaphth [2,3-b]oxirene, 3,4,5,6,9,9-hexachloro-1a,2,2a,3,6,6a,7,7a-octahydro-, (1aα,2β,2aα,3β,6β,6aα,7β,7aα)- |
| Diethyl phthalate | 84-66-2 | 1,2-Benzenedicarboxylic acid, diethyl ester |
| O,O-Diethyl O-2-pyrazinyl, phosphorothioate; Thionazin | 297-97-2 | Phosphorothioic acid, O,O-diethyl O-pyrazinyl ester. |
| Dimethoate | 60-51-5 | Phosphorodithioic acid, O,O-dimethyl S-[2-(methylamino)-2-oxoethyl] ester |
| p-(Dimethylamino)azobenzen | 60-11-7 | Benzenamine, N,N-dimethyl-4-(phenylazo)- |
| 7,12-Dimethylbenz[a]nthracene | 57-97-6 | Benz[a]anthracene, 7,12-dimethyl- |
| 3,3´-Dimethylbenzidine | 119-93-7 | [1,1′-Biphenyl]-4,4′-diamine, 3,3′-dimethyl- |
| alpha, alpha-Dimethylphenethylamine | 122-09-8 | Benzeneethanamine, α,α-dimethyl- |
| 2,4-Dimethylphenol; m-Xylenol | 105-67-9 | Phenol, 2,4-dimethyl- |
| Dimethyl phthalate | 131-11-3 | 1,2-Benzenedicarboxylic acid, dimethyl ester |
| m-Dinitrobenzene | 99-65-0 | Benzene, 1,3-dinitro- |
| 4,6-Dinitro-o-cresol 4,6-Dinitro-2-methylphenol | 534-52-1 | Phenol, 2-methyl-4,6-dinitro- |
| 2,4-Dinitrophenol; | 51-28-5 | Phenol, 2,4-dinitro- |
| 2,4-Dinitrotoluene | 121-14-2 | Benzene, 1-methyl-2,4-dinitro- |
| 2,6-Dinitrotoluene | 606-20-2 | Benzene, 2-methyl-1,3-dinitro- |
| Dinoseb; DNBP; 2-sec-Butyl-4,6-dinitrophenol | 88-85-7 | Phenol, 2-(1-methylpropyl)-4,6-dinitro- |
| Di-n-octyl phthalate | 117-84-0 | 1,2-Benzenedicarboxylic acid, dioctyl ester |
| Diphenylamine | 122-39-4 | Benzenamine, N-phenyl- |
| Disulfoton | 298-04-4 | Phosphorodithioic acid, O,O-diethyl S-[2- (ethylthio)ethyl] ester |
| Endosulfan I | 959-98-8 | 6,9-Methano-2,4,3-benzodiox-athiepin, 6,7,8,9,10,10-hexachloro-1,5,5a,6,9,9a-hexahydro-, 3-oxide, |
| Endosulfan II | 33213-65-9 | 6,9-Methano-2,4,3-benzodioxathiepin, 6,7,8,9,10,10-hexachloro- 1,5,5a,6,9,9a-hexahydro-, 3-oxide, (3α,5aα,6β,9β, 9aα)- |
| Endosulfan sulfate | 1031-07-8 | 6,9-Methano-2,4,3-benzodioxathiepin, 6,7,8,9,10,10-hexachloro-1,5,5a,6,9,9a-hexahydro-, 3,3-dioxide |
| Endrin | 72-20-8 | 2,7:3,6-Dimethanonaphth[2,3-b]oxirene, 3,4,5,6,9,9-hexachloro-1a,2,2a,3,6,6a,7,7a-octahydro-, (1aα, 2β,2aβ, 3α,6α,6aβ,7β,7aα)- |
| Endrin aldehyde | 7421-93-4 | 1,2,4-Methenocyclo-penta[cd]pentalene-5-carboxaldehyde,2,2a,3,3,4,7-hexachlorodecahydro- (1α,2β,2aβ,4β,4aβ,5β,6aβ,6bβ,7R*)- |
| Ethylbenzene | 100-41-4 | Benzene, ethyl- |
| Ethyl methacrylate | 97-63-2 | 2-Propenoic acid, 2-methyl-, ethyl ester |
| Ethyl methanesulfonate | 62-50-0 | Methanesulfonic acid, ethyl ester |
| Famphur | 52-85-7 | Phosphorothioic acid, O-[4-[(dimethylamino)sulfonyl]phenyl]-O,O-dimethyl ester |
| Fluoranthene | 206-44-0 | Fluoranthene |
| Fluorene | 86-73-79 | 9H-Fluorene |
| Heptachlor | 76-44-8 | 4,7-Methano-1H-indene,1,4,5,6,7,8,8-heptachloro-3a,4,7,7a-tetrahydro- |
| Heptachlor epoxide | 1024-57-3 | 2,5-Methano-2H-indeno[1,2-b]oxirene, 2,3,4,5,6,7,7-heptachloro-1a,1b,5,5a,6,6a,-hexahydro-,(1aα,1bβ,2α,5α,5aβ,6β,6aα) |
| Hexachlorobenzene | 118-74-1 | Benzene, hexachloro- |
| Hexachlorobutadiene | 87-68-3 | 1,3-Butadiene, 1,1,2,3,4,4-hexachloro- |
| Hexachlorocyclopentadiene | 77-47-4 | 1,3-Cyclopentadiene, 1,2,3,4,5,5-hexachloro- |
| Hexachloroethane | 67-72-1 | Ethane, hexachloro- |
| Hexachloropropene | 1888-71-7 | 1-Propene, 1,1,2,3,3,3-hexachloro- |
| 2-Hexanone; Methyl butyl ketone | 591-78-6 | 2-Hexanone |
| Indeno(1,2,3-cd)pyrene | 193-39-5 | Indeno[1,2,3-cd]pyrene |
| Isobutyl alcohol | 78-83-1 | 1-Propanol, 2-methyl- |
| Isodrin | 465-73-6 | 1,4,5,8-Dimethanonaphthalene,1,2,3,4,1 0,10-hexachloro-1,4,4a,5,8,8a hexahydro-(1α, 4α, 4aβ,5β,8β,8aβ)- |
| Isophorone | 78-59-1 | 2-Cyclohexen-1-one, 3,5,5-trimethyl- |
| Isosafrole | 120-58-1 | 1,3-Benzodioxole, 5-(1-propenyl)- |
| Kepone | 143-50-0 | 1,3,4-Metheno-2H-cyclobuta-[cd]pentalen-2-one, 1,1a,3,3a,4,5,5,5a,5b,6-decachlorooctahydro- |
| Lead | (Total) | Lead |
| Mercury | (Total) | Mercury |
| Methacrylonitrile | 126-98-7 | 2-Propenenitrile, 2-methyl- |
| Methapyrilene | 91-80-5 | 1,2,Ethanediamine, N,N-dimethyl-N′-2-pyridinyl-N′-(2-thienylmethyl)- |
| Methoxychlor | 72-43-5 | Benzene, 1,1′-(2,2,2,trichloroethylidene)bis [4-methoxy- |
| Methyl bromide; Bromomethane | 74-83-9 | Methane, bromo- |
| Methyl chloride; Chloromethane | 74-87-3 | Methane, chloro- |
| 3-Methylcholanthrene | 56-49-5 | Benz[j]aceanthrylene, 1,2-dihydro-3-methyl- |
| Methyl ethyl ketone; MEK; 2-Butanone | 78-93-3 | 2-Butanone |
| Methyl iodide; Iodomethane | 74-88-4 | Methane, iodo- |
| Methyl methacrylate | 80-62-6 | 2-Propenoic acid, 2-methyl-, methyl ester |
| Methyl methanesulfonate | 66-27-3 | Methanesulfonic acid, methyl ester |
| 2-Methylnaphthalene | 91-57-6 | Naphthalene, 2-methyl- |
| Methyl parathion; Parathion methyl | 298-00-0 | Phosphorothioic acid, O,O-dimethyl |
| 4-Methyl-2-pentanone; Methyl isobutyl ketone | 108-10-1 | 2-Pentanone, 4-methyl- |
| Methylene bromide; Dibromomethane | 74-95-3 | Methane, dibromo- |
| Methylene chloride; Dichloromethane | 75-09-2 | Methane, dichloro- |
| Naphthalene | 91-20-3 | Naphthalene |
| 1,4-Naphthoquinone | 130-15-4 | 1,4-Naphthalenedione |
| 1-Naphthylamine | 134-32-7 | 1-Naphthalenamine |
| 2-Naphthylamine | 91-59-8 | 2-Naphthalenamine |
| Nickel | (Total) | Nickel |
| o-Nitroaniline; 2-Nitroaniline | 88-74-4 | Benzenamine, 2-nitro- |
| m-Nitroaniline; 3-Nitroaniline | 99-09-2 | Benzenamine, 3-nitro- |
| p-Nitroaniline; 4-Nitroaniline | 100-01-6 | Benzenamine, 4-nitro- |
| Nitrobenzene | 98-95-3 | Benzene, nitro- |
| o-Nitrophenol; 2-Nitrophenol | 88-75-5 | Phenol, 2-nitro- |
| p-Nitrophenol; 4-Nitrophenol | 100-02-7 | Phenol, 4-nitro- |
| N-Nitrosodi-n-butylamine | 924-16-3 | 1-Butanamine, N-butyl-N-nitroso- |
| N-Nitrosodiethylamine | 55-18-5 | Ethanamine, N-ethyl-N-nitroso- |
| N-Nitrosodimethylamine | 62-75-9 | Methanamine, N-methyl-N-nitroso- |
| N-Nitrosodiphenylamine | 86-30-6 | Benzenamine, N-nitroso-N-phenyl- |
| N-Nitrosodipropylamine;N-nitroso-N-dipropylamine Di-n-propylnitrosamine | 621-64-7 | 1-Propanamine, N-nitroso-N-propyl- |
| N-Nitrosomethylethylamine | 10595-95-6 | Ethanamine, N-methyl-N-nitroso- |
| N-Nitrosopiperidine | 100-75-4 | Piperidine, 1-nitroso- |
| N-Nitrosopyrrolidine | 930-55-2 | Pyrrolidine, 1-nitroso- |
| 5-Nitro-o-toluidine | 99-55-8 | Benzenamine, 2-methyl-5-nitro- |
| Parathion | 56-38-2 | Phosphorothioic acid, O,O-diethyl-O-(4-nitrophenyl) ester |
| Pentachlorobenzene | 608-93-5 | Benzene, pentachloro- |
| Pentachloronitrobenzene | 82-68-8 | Benzene, pentachloronitro- |
| Pentachlorophenol | 87-86-5 | Phenol, pentachloro- |
| Phenacetin | 62-44-2 | Acetamide, N-(4-ethoxyphenyl) |
| Phenanthrene | 85-01-8 | Phenanthrene |
| Phenol | 108-95-2 | Phenol |
| p-Phenylenediamine | 106-50-3 | 1,4-Benzenediamine |
| Phorate | 298-02-2 | Phosphorodithioic acid, O,O-diethyl S- [(ethylthio)methyl] ester |
| Polychlorinated biphenyls; PCBs;-Aroclors | See Note 5. | 1,1′-Biphenyl, chloro derivatives |
| Pronamide | 23950-58-5 | Benzamide, 3,5-dichloro-N-(1,1-dimethyl-2-propynyl)- |
| Propionitrile; Ethyl cyanide | 107-12-0 | Propanenitrile |
| Pyrene | 129-00-0 | Pyrene |
| Safrole | 94-59-7 | 1,3-Benzodioxole, 5-(2- propenyl)- |
| Selenium | (Total) | Selenium |
| Silver | (Total) | Silver |
| Silvex; 2,4,5-TP | 93-72-1 | Propanoic acid, 2-(2,4,5- trichlorophenoxy)- |
| Styrene | 100-42-5 | Benzene, ethenyl- |
| Sulfide | 18496-25-8 | Sulfide |
| 2,4,5-T;2,4,5-Trichlorophenoxyacetic-acid | 93-76-5 | Acetic acid, (2,4,5- trichlorophenoxy)- |
| 1,2,4,5-Tetrachlorobenzene | 95-94-3 | Dibenzo[b,e][1,4]dioxin, 2,3,7,8-tetrachloro- |
| 1,1,1,2-Tetrachloroethane | 630-20-6 | Ethane, 1,1,1,2-tetrachloro- |
| 1,1,2,2-Tetrachloroethane | 79-34-5 | Ethane, 1,1,2,2-tetrachloro- |
| Tetrachloroethylene; Tetra-chloroethene; Perchloroethylene | 127-18-4 | Ethene, tetrachloro- |
| 2,3,4,6-Tetrachlorophenol | 58-90-2 | Phenol, 2,3,4,6-tetrachloro- |
| Thallium | (Total) | Thallium |
| Tin | (Total) | Tin |
| Toluene | 108-88-3 | Benzene, methyl- |
| o-Toluidine | 95-53-4 | Benzenamine, 2-methyl- |
| Toxaphene | See footnote 6. | Toxaphene |
| 1,2,4-Trichlorobenzene | 120-82-1 | Benzene, 1,2,4-trichloro- |
| 1,1,1-Trichloroethane; Methylchloroform | 71-55-6 | Ethane, 1,1,1-trichloro- |
| 1,1,2-Trichloroethane | 79-00-5 | Ethane, 1,1,2-trichloro- |
| Trichloroethylene; Trichloroethene | 79-01-6 | Ethene, trichloro- |
| Trichlorofluoromethane; CFC-11 | 75-69-4 | Methane, trichlorofluoro- |
| 2,4,5-Trichlorophenol | 95-95-4 | Phenol, 2,4,5-trichloro- |
| 2,4,6-Trichlorophenol | 88-06-2 | Phenol, 2,4,6-trichloro- |
| 1,2,3-Trichloropropane | 96-18-4 | Propane, 1,2,3-trichloro- |
| 0,0,0-Triethyl phosphorothioate | 126-68-1 | Phosphorothioic acid, O,O,O-triethyl ester |
| sym-Trinitrobenzene | 99-35-4 | Benzene, 1,3,5-trinitro- |
| Vanadium | (Total) | Vanadium |
| Vinyl acetate | 108-05-4 | Acetic acid, ethenyl ester |
| Vinyl chloride; Chloroethene | 75-01-4 | Ethene, chloro- |
| Xylene (total) | See footnote 7[8]. | Benzene, dimethyl- |
| Zinc | (Total) | Zinc |

Appendix III - Constituents for Detection Monitoring for Demolition Landfills

| Appendix III- Constituents for Detection Monitoring for Demolition Landfills |  |
| --- | --- |
| Common Name | N/A |
| Indicator Constituents | N/A |
| Aluminum (µg/l) | Total |
| Ammonia (mg/l) | Total |
| Antimony (µg/l) | Total |
| Arsenic (µg/l) | Total |
| Barium (µg/l) | Total |
| Beryllium (mg/l) | Total |
| Boron (µg/l) | Total |
| Cadmium (µg/l) | Total |
| Calcium (mg/l) | Total |
| Chemical Oxygen Demand (COD, mg/l) | Total |
| Chloride (mg/l) | Total |
| Chromium (µg/l) | Total |
| Cobalt (µg/l) | Total |
| Copper (µg/l) | Total |
| Fluoride (mg/l) | Total |
| Hardness (calculated, mg/l) | Total |
| Iron (µg/l) | Total |
| Lead (µg/l) | Total |
| Magnesium (mg/l) | Total |
| Manganese (µg/l) | Total |
| Mercury (µg/l) | Total |
| Nickel (mg/l) | Total |
| pH (units) | Total |
| Potassium (mg/l) | Total |
| Selenium (µg/l) | Total |
| Silver (µg/l) | Total |
| Sodium (mg/l) | Total |
| Specific Conductance (Conductivity at 25°C, mho/cm) | Total |
| Sulfate (mg/l) | Total |
| Thallium (µg/l) | Total |
| Total Dissolved Solids (TDS, mg/l) | Total |
| Total Organic Carbon (TOC, mg/l) | Total |
| Total Organic Halogens (TOX, mg/l) | Total |
| Zinc (µg/l) | Total |

Appendix IV - Constituents for Assessment Monitoring for Demolition Landfills

| Appendix IV- Constituents for Assessment Monitoring for Demolition Landfills |  |
| --- | --- |
| Common Name | N/A |
| Inorganic Constituents | N/A |
| Nitrate/Nitrite | Total |
| Phosphorus | Total |
| Vanadium | Total |
| Zinc | Total |

Organic Constituents

| Organic Constituents | CAS RN |
| --- | --- |
| Acetone | 67-64-1 |
| Acrylonitrile | 107-13-1 |
| Benzene | 71-43-2 |
| Bromochloromethane | 74-97-5 |
| Bromodichloromethane | 75-27-4 |
| Bromoform; Tribromomethane | 75-25-2 |
| Carbon disulfide | 75-15-0 |
| Carbon tetrachloride | 56-23-5 |
| Chlorobenzene | 108-90-7 |
| Chloroethane; Ethyl chloride | 75-00-3 |
| Chloroform; Trichloromethane | 67-66-3 |
| Dibromochloromethane; Chlorodibro-momethane | 124-48-1 |
| 1,2-Dibromo-3-chloropropane; DBCP | 96-12-8 |
| 1,2-Dibromoethane; Ethylene dibromide; EDB | 106-93-4 |
| o-Dichlorobenzene; 1,2-Dichlorobenzene | 95-50-1 |
| p-Dichlorobenzene; 1,4-Dichlorobenzene | 106-46-7 |
| trans-1,4-Dichloro-2-butene | 110-57-6 |
| 1,1-Dichloroethane; Ethylidene chloride | 75-34-3 |
| 1,2-Dichloroethane; Ethylene dichloride | 107-06-2 |
| 1,1-Dichloroethylene; 1,1-Dichloroethene; Vinylidene chloride | 75-35-4 |
| cis-1,2-Dichloroethylene; cis-1,2-Dichloroethene | 156-59-2 |
| trans-1,2-Dichloroethylene; trans-1,2-Dichloroethene | 156-60-5 |
| 1,2-Dichloropropane; Propylene dichloride | 78-87-5 |
| cis-1,3-Dichloropropene | 10061-01-5 |
| trans-1,3-Dichloropropene | 10061-02-6 |
| Ethylbenzene | 100-41-4 |
| 2-Hexanone; Methyl butyl ketone | 591-78-6 |
| Methyl bromide; Bromomethane | 74-83-9 |
| Methyl chloride; Chloromethane | 74-87-3 |
| Methylene bromide; Dibromomethane | 74-95-3 |
| Methylene chloride; Dichloromethane | 75-09-2 |
| Methyl ethyl ketone; MEK; 2-Butanone | 78-93-3 |
| Methyl iodide; Iodomethane | 74-88-4 |
| 4-Methyl-2-pentanone; Methyl isobutyl ketone | 108-10-1 |
| Styrene | 100-42-5 |
| 1,1,1,2-Tetrachloroethane | 630-20-6 |
| 1,1,2,2-Tetrachloroethane | 79-34-5 |
| Tetrachloroethylene; Tetrachloroethene; Per-chloroethylene | 127-18-4 |
| Toluene | 108-88-3 |
| 1,1,1-Trichloroethane; Methylchloroform | 71-55-6 |
| 1,1,2-Trichloroethane | 79-00-5 |
| Trichloroethylene; Trichloroethene | 79-01-6 |
| Trichlorofluoromethane; CFC-11 | 75-69-4 |
| 1,2,3-Trichloropropane | 96-18-4 |
| Vinyl acetate | 108-05-4 |
| Vinyl chloride | 75-01-4 |
| Xylenes | 1330-20-7 |

Notes

1. The regulatory requirements pertain only to the list of substances.

2. Common names are those widely used in government regulations, scientific publications, and commerce; synonyms exist for many chemicals.

3. This substance is often called Bis(2-chloroisopropyl) ether, the name Chemical Abstracts Service applies to its noncommercial isomer, Propane, 2,2´-oxybis, 2-chloro- (CAS RN 39638-32-9).

4. Chlordane: This entry includes alpha-chlordane (CAS RN 5103-71-9), beta-chlordane (CAS RN 5103-74-2), gamma-chlordane (CAS RN 5566-34-7), and constituents of chlordane (CAS RN 57-74-9 and CAS RN 12789-03-6).

5. Polychlorinated biphenyls (CAS RN 1336-36-3); this category contains congener chemicals, including constituents of Aroclor 1016 (CAS RN 12674-11-2), Aroclor 1221 (CAS RN 11104-28-2), Aroclor 1232 (CAS RN 11141-16-5), Aroclor 1242 (CAS RN 53469-21-9), Aroclor 1248 (CAS RN 12672-29-6), Aroclor 1254 (CAS RN 11097-69-1), and Aroclor 1260 (CAS RN 11096-82-5).

6. Toxaphene: This entry includes congener chemicals contained in technical toxaphene (CAS RN 8001-35-2), e.g., chlorinated camphene.

7. Xylene (total): This entry includes o-xylene (CAS RN 96-47-6), m-xylene (CAS RN 108-38-3), p-xylene (CAS RN 106-42-3), and unspecified xylenes (dimethylbenzenes) (CAS RN 1330-20-7).

AUTHORITY: section 260.225, RSMo 2016.* Original rule filed Dec. 11, 1973, effective Dec. 21, 1973. Amended: Filed July 14, 1986, effective Jan. 1, 1987. Amended: Filed Jan. 5, 1987, effective June 1, 1987. Amended: Filed Jan. 29, 1988, effective Aug. 1, 1988. Amended: Filed Aug. 15, 1988, effective Dec. 29, 1988. Emergency amendment filed Sept. 29, 1993, effective Oct. 9, 1993, expired Feb. 5, 1994. Amended: Filed May 3, 1993, effective Jan. 13, 1994. Amended: Filed March 17, 1992.** Emergency rescission of the 1992 amendment filed March 19, 1997, effective April 1, 1997, expired Sept. 27, 1997. Amended: Filed Oct. 10, 1996, effective July 30, 1997. Rescission of the 1992 amendment filed April 3, 1997, effective Aug. 30, 1997. Amended: Filed Dec. 15, 1997, effective Aug. 30, 1998. Amended: Filed June 29, 2018, effective Feb. 28, 2019.

*Original authority: 260.225, RSMo 1972, amended 1975, 1986, 1988, 1990, 1993, 1995.

PUBLIC COST: This proposed amendment will not cost state agencies or political subdivisions more than five hundred dollars ($500) in the aggregate.

PRIVATE COST: This proposed amendment will cost private entities one million five hundred fifty-seven thousand six hundred thirty-four ($1,557,634) in the aggregate.

NOTICE OF PUBLIC HEARING AND NOTICE TO SUBMIT COMMENTS: Anyone may file a statement in support of or in opposition to this proposed amendment with the Missouri Department of Natural Resources PO Box 176, Jefferson City, MO 65102-0176. To be considered, comments must be received by September 29, 2026. A public hearing is scheduled for 10:00 a.m., September 22, 2026, at Bennett Springs Conference Room, 1730 East Elm St., Jefferson City, MO 65101.